## Diagram_Metadata_Report
BRIDG Imaging Acquisition Metadata Report, generated on Mar. 18, 2019
BRIDGmodel.nci.nih.gov
DIAGRAM NAME | CLASS NAME | ATTRIBUTE NAME | DATA TYPE | CARDINALITY | DESCRIPTION
Imaging Acquisition | CTImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single CT scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): A chest Protocol might
Imaging Acquisition | CTImagingAcquisitionProtocolElement | ctdiPhantomTypeCode | CD | 0..1 | DEFINITION: The type of phantom to use for CTDI measurement according to IEC 60601-2-44. EXAMPLE(S): (113690, DCM, "IEC Head Dosimetry Phantom") (113691, DCM, "IEC Body Dosimetry Phantom") OTHER NAME(S): Computed Tomography Dose Index (CTDI) Phantom Typ
Imaging Acquisition | CTImagingAcquisitionProtocolElement | ctdiVol | IVL<PQ> | 0..1 | DEFINITION: The average dose over the total volume scanned for the selected CT conditions of operation (calculated according to IEC 60601-2-44, Ed.2.1 (Clause 29.1.103.4)). EXAMPLE(S): OTHER NAME(S): Computed Tomography Dose Index (CTDI) Volume NOTE(S
Imaging Acquisition | CTImagingAcquisitionProtocolElement | exposureModulationTypeCode | DSET<CD> | 0..* | DEFINITION: The manner in which tube current is varied in order to limit the dose. EXAMPLE(S): NONE ANGULAR = current is modulated over different tube angles LONGITUDINAL = current is modulated along the axis of the table ECG_BASED = current is modulated
Imaging Acquisition | CTImagingAcquisitionProtocolElement | gantryDetectorTilt | IVL<PQ> | 0..1 | DEFINITION: Nominal angle of tilt in degrees of the scanning gantry. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of plane angle , e.g. degrees. Zero degrees means the gantry is not tilted, negative degrees are when the top of the gantry is tilt
Imaging Acquisition | CTImagingAcquisitionProtocolElement | kVp | IVL<PQ> | 0..1 | DEFINITION: Peak kilovoltage output of the x-ray generator. EXAMPLE(S): 140 kv OTHER NAME(S): KVP (0018,0060) NOTE(S): The units are of electrical potential.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | singleCollimationWidth | IVL<PQ> | 0..1 | DEFINITION: The width of a single row of acquired data. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of linear distince, e.g. mm.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | spiralPitchFactor | IVL<PQ> | 0..1 | DEFINITION: Ratio of the distance that the table moves during a complete revolution of the source around the gantry orbit, to the width of the total collimation over the area of active x-ray detection. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are
Imaging Acquisition | CTImagingAcquisitionProtocolElement | tableSpeed | IVL<PQ> | 0..1 | DEFINITION: The distance that the table moves per unit of time during the gathering of data. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of linear distance divided by time.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | totalCollimationWidth | IVL<PQ> | 0..1 | DEFINITION: The width of the total collimation over the area of active x-ray detection. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of linear distince, e.g. mm.
Imaging Acquisition | CTImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single CT scan. EXAMPLE(S): A CT Protocol frequently specifies multiple reconstructions. For example, a single helical Acquisition Element may be re
Imaging Acquisition | CTImagingReconstructionProtocolElement | convolutionKernel | ST | 0..1 | DEFINITION: A label describing the mathematical operations used to reconstruct images from the acquired data. EXAMPLE(S): For soft tissue: B30 (Seimens), Standard (GE), FC03 (Toshiba) OTHER NAME(S): Convolution Kernel (0018,1210) NOTE(S): The values fo
Imaging Acquisition | CTImagingReconstructionProtocolElement | convolutionKernelGroupCode | DSET<CD> | 0..1 | DEFINITION: A coded value specifying the family of mathematical operations to use to reconstruct images from the acquired data. EXAMPLE(S): BRAIN SOFT_TISSUE LUNG BONE CONSTANT_ANGLE OTHER NAME(S): Convolution Kernel Group (0018,9316) NOTE(S):
Imaging Acquisition | DefinedActivity |  |  |  | DEFINITION: An activity that frequently occurs in studies (e.g. more than one time in more than one arm) and/or experiments and therefore is called out as a reusable template in a global library of activities outside the context of any particular study or
Imaging Acquisition | DefinedActivity | categoryCode | CD | 0..1 | DEFINITION: A coded value specifying a classification of activities. EXAMPLE(S): In the case where categoryCode = "anti-cancer treatment", the subcategoryCode may = "radiotherapy", and the nameCode may = "external beam radiotherapy". In Procedure, categ
Imaging Acquisition | DefinedActivity | description | ST | 0..1 | DEFINITION: The textual representation of the activity. EXAMPLE(S): OTHER NAME(S): NOTE(S): This may contain more detail than the description present in the text part of a coded concept.
Imaging Acquisition | DefinedActivity | nameCode | CD | 1...1 | DEFINITION: A coded value specifying the non-unique textual identifier for the activity. EXAMPLE(S): CPT4 or SNOMED term for a surgical procedure. Coded value for a single analytic procedure in a lab test. The code and text of an individual question on
Imaging Acquisition | DefinedActivity | repeatDuration | PQ.TIME | 0..1 | DEFINITION: The period of time over which the activity is repeated. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from repeatQuantity and repeatFrequencyCode or repeatFrequencyRatio (constraint allows only one). In any given implementation, if quantity
Imaging Acquisition | DefinedActivity | repeatFrequencyCode | CD | 0..1 | DEFINITION: A coded value specifying the number of occurrences of an activity within a given time period. EXAMPLE(S): BID = Two times per day, at unspecified times (does not necessarily imply that these are 12 hours apart) Q12H = Every twelve hours OTH
Imaging Acquisition | DefinedActivity | repeatFrequencyRatio | RTO<INT.NONNEG,PQ.TIME> | 0..1 | DEFINITION: A ratio representing the number of occurrences of an activity within a given time period. EXAMPLE(S): Once per 12 hours 2 times per day OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedActivity | repeatQuantityRange | URG<INT.NONNEG> | 0..1 | DEFINITION: An integer falling within minimum and maximum bounds that specifies how many times the activity occurs. EXAMPLE(S): OTHER NAME(S): NOTE(S): If the frequency is more than once a day, this is still interpreted per time, e.g. BID for 5 days =
Imaging Acquisition | DefinedActivity | statusCode | CD | 0..1 | DEFINITION: A coded value specifying the phase in the lifecycle of the activity as part of a global library. EXAMPLE(S): Draft New, Released, Retired Archived OTHER NAME(S): NOTE(S): Please refer to the Defined Activity Status state transition diagram
Imaging Acquisition | DefinedActivity | statusDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the status is assigned to the activity. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedActivity | subcategoryCode | CD | 0..1 | DEFINITION: A coded value specifying a subdivision within a larger category of activities. EXAMPLE(S): chemotherapy, radiotherapy, hormonal therapy, alternative therapy In the case where categoryCode = "anti-cancer treatment", subcategoryCode may = "ra
Imaging Acquisition | DefinedCompositionRelationship |  |  |  | DEFINITION: A relationship between a composite activity and a component activity that comprises it, i.e. parent and child activities, where all these activities are part of a global library of activities. EXAMPLE(S): A battery of tests may be composed of
Imaging Acquisition | DefinedCompositionRelationship | joinCode | CD | 0..1 | DEFINITION: A coded value specifying whether, and how, a specific activity in a set of parallel activities should come together before subsequent activities can begin. EXAMPLE(S): Wait for this activity to complete before the subsequent activity; Termina
Imaging Acquisition | DefinedCompositionRelationship | pauseQuantityRange | URG<PQ.TIME> | 0..1 | DEFINITION: A quantity of time falling within minimum and maximum bounds that specifies the elapsed time between when an activity is ready for execution and the actual beginning of the execution. EXAMPLE(S): A visit is composed of 3 activities: a physic
Imaging Acquisition | DefinedCompositionRelationship | sequenceNumber | INT.NONNEG | 0..1 | DEFINITION: An integer specifying the relative sequential or temporal ordering of this relationship among other similar relationships having the same source. EXAMPLE(S): OTHER NAME(S): From DICOM: Protocol Element Number (0018,9921) NOTE(S): In a cour
Imaging Acquisition | DefinedProcedure |  |  |  | DEFINITION: An activity defined at a global library level that is an action whose immediate and primary intention is the alteration of the physical condition of the subject. EXAMPLE(S): Procedures may involve the disruption of some body surface (e.g. an
Imaging Acquisition | DefinedProcedure | additionalQualifierCode | DSET<CR> | 0..* | DEFINITION: A coded value specifying a supplemental characterization of the procedure. EXAMPLE(S): OTHER NAME(S): NOTE(S): For APSR, this is used only in staining and other procedures without values in SCT or LOINC or DICOM vocabulary, e.g. immune stai
Imaging Acquisition | DefinedProcedure | approachAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location or access point for a procedure. EXAMPLE(S): Arm for an injection Trans-abdominal for a nephrectomy OTHER NAME(S): NOTE(S): Sources that capture anatomic site and laterality separately should m
Imaging Acquisition | DefinedProcedure | approachAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is an access point for a procedure. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since
Imaging Acquisition | DefinedProcedure | methodCode | CD | 0..1 | DEFINITION: A coded value specifying the technique that is used for the procedure. EXAMPLE(S): Finger stick, veni puncture, Abdominal/ ascites effusion, Biopsy, Bronchial alveolar lavage (BAL) (for specimen collection) Capillary electrophoresis and HPLC
Imaging Acquisition | DefinedProcedure | nameCodeModifiedText | ST | 0..1 | DEFINITION: A character string that is a revision of the original text of the procedure to enable the coding of the text. EXAMPLE(S): If the original text is "message", the nameCodeModifiedText could be set to "massage", so that the text can be successfu
Imaging Acquisition | DefinedProcedure | targetAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location that is the focus of a procedure. EXAMPLE(S): Kidney for a nephrectomy OTHER NAME(S): NOTE(S): Multiple contiguous sites within the same organ system may be referenced. Sources that capture an
Imaging Acquisition | DefinedProcedure | targetAnatomicSiteDirectionalityCode | CD | 0..1 | DEFINITION: A coded value specifying the directional portion of the anatomic site that is a target site for a procedure. EXAMPLE(S): upper, interior OTHER NAME(S): NOTE(S): This attribute complements the target anatomic site code and target anatomic s
Imaging Acquisition | DefinedProcedure | targetAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is a target site for a procedure. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since so
Imaging Acquisition | DefinedSubstanceAdministration |  |  |  | DEFINITION: An activity defined at a global library level that is an action of applying, introducing or otherwise giving medications or other substances to a subject or experimental unit. EXAMPLE(S): Administration of methotrexate as part of chemotherap
Imaging Acquisition | DefinedSubstanceAdministration | doseFrequencyCode | CD | 0..1 | DEFINITION: A coded value specifying how often doses are administered. EXAMPLE(S): BID, TID, QID OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | dosePeriodCode | CD | 0..1 | DEFINITION: A coded value specifying the period during which the dose total is administered. EXAMPLE(S): daily, course OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | doseRegimen | ST | 0..1 | DEFINITION: Text description of the intended schedule for administering a substance. EXAMPLE(S): 2 weeks on, 2 weeks off OTHER NAME(S): NOTE(S): This represents the dosing calendar in a text format. This is a non-computational description that may ne
Imaging Acquisition | DefinedSubstanceAdministration | fastingStatusIndicator | BL | 0..1
Imaging Acquisition | DefinedSubstanceAdministration | flowRate | RTO<PQ,PQ.TIME> | 0..1 | DEFINITION: A ratio specifying the speed with which the substance is introduced into the subject. EXAMPLE(S): 100 mL/h 1 g/d 40 mmol/h OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | periodProductDoseTotal | EXPR<PQ> | 0..1 | DEFINITION: Total of all doses of this agent in a given period of time. EXAMPLE(S): OTHER NAME(S): NOTE(S): The given period of time is defined in dosePeriodCode. This is needed because the dose may not always be derivable, e.g., if it is a string, an
Imaging Acquisition | DefinedSubstanceAdministration | productDose | PQ | 1..1 | DEFINITION: The quantity of a substance or medication to be administered. EXAMPLE(S): 5 mg 20 mg of drug per kg of subject weight 370MBq OTHER NAME(S): NOTE(S): DefinedSubstanceAdministration.productDose can contain a dose expressed in absolute or rela
Imaging Acquisition | DefinedSubstanceAdministration | routeOfAdministrationCode | CD | 0..1 | DEFINITION: A coded value specifying the physiological path or method of introducing the substance. EXAMPLE(S): oral, intravenous, nasal, intradermal, intracardial OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | targetAnatomicSitePortionCode | CD | 0..1 | DEFINITION: A coded value specifying the arrangement or apportionment of the body (or a paired organ) that is a target site for a substance administration. EXAMPLE(S): entire, single, segment, many OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device |  |  |  | DEFINITION: An object intended for use whether alone or in combination for diagnostic, prevention, monitoring, therapeutic, scientific, and/or experimental purposes. EXAMPLE(S): tongue depressor, pacemaker, insulin pump, EKG machine, x-ray machine, ma
Imaging Acquisition | Device | age | PQ.TIME | 0..1 | DEFINITION: A measure (or best estimate) of the length of time during which a device existed, measured from manufacture date (and time) to a given date (and time) of use. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from the difference between the manu
Imaging Acquisition | Device | availableForEvaluationIndicator | BL | 0..1 | DEFINITION: Specifies whether or not the device is accessible for assessment by the manufacturer. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | ceMarkIndicator | BL | 0..1 | DEFINITION: Specifies whether this device bears a CE (Conformite Europeenne) mark. EXAMPLE(S): OTHER NAME(S): NOTE(S): CE is a mark for device products placed on the market in the European Economic Area (EEA). By placing the CE marking on a product, th
Imaging Acquisition | Device | handlingCode | CD | 0..1 | DEFINITION: A coded value specifying special handling requirements for the device. EXAMPLE(S): keep at room temperature, store upright OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | manufactureDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the device is made. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | overTheCounterProductIndicator | BL | 0..1 | DEFINITION: Specifies whether a device is available over-the-counter. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | reprocessedDeviceCode | CD | 0..1 | DEFINITION: A coded value specifying whether a device is reconditioned. EXAMPLE(S): initial use of device, reuse, unknown OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | returnedToReprocessorDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the device was returned to the manufacturer or reprocessor. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | riskCode | CD | 0..1 | DEFINITION: A coded value specifying the type of hazard or threat associated with the device. EXAMPLE(S): flammable, explosive OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | singleUseDeviceIndicator | BL | 0..1 | DEFINITION: Specifies whether a device is intended to be used only one time. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug |  |  |  | DEFINITION: An article other than food intended for use in the diagnosis, cure, mitigation, treatment, or prevention of disease; or intended to affect the structure or any function of the body. EXAMPLE(S): aspirin OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | actionModeCode | CD | 0..1 | DEFINITION: A coded value specifying the mode of action through which this substance produces a pharmacological effect. EXAMPLE(S): stimulating action, depressing action, blocking/antagonizing action, stabilizing action, exchanging/replacing substances,
Imaging Acquisition | Drug | handlingCode | CD | 0..1 | DEFINITION: A coded value specifying special handling requirements for the drug. EXAMPLE(S): keep at room temperature, store upright OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | riskCode | CD | 0..1 | DEFINITION: A coded value specifying the type of hazard or threat associated with the drug. EXAMPLE(S): flammable, explosive OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | stabilityDuration | IVL<TS.DATETIME> | 0..1 | DEFINITION: The period of time during which the drug is considered usable after it is activated (opened). EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | GenericImagingProcessProtocol |  |  |  | DEFINITION: Provides the details for how the images in the imaging study are <u>to be</u> captured and reconstructed, such as a complete description of imaging parameters, instrumentation, subject positioning, etc. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): A chest Protocol might inc
Imaging Acquisition | ImagingAcquisitionProtocolElement | acquisitionTypeCode | DSET<CD> | 0..1 | DEFINITION: A coded value specifying spatial aspects of the mechanism of data collection. EXAMPLE(S): For CT, this specifies the trajectory of the X-Ray source relative to the object being imaged, e.g. SEQUENCED, SPIRAL, CONSTANT_ANGLE, STATIONARY, FREE
Imaging Acquisition | ImagingAcquisitionProtocolElement | bodyPositionCode | CD | 0..1 | DEFINITION: A coded value specifying the 3-dimensional spatial orientation of a subject during this imaging acquisition protocol element. EXAMPLE(S): supine, trendelenburg, standing OTHER NAME(S): NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | cardiacSynchronizationTechniqueCode | CD | 0..1 | DEFINITION: The means used to coordinate the collection or reconstruction of data with the cardiac cycle. EXAMPLE(S): NONE, REALTIME, PROSPECTIVE, RETROSPECTIVE, PACED OTHER NAME(S): Cardiac Synchronization Technique (0018,9037) NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | dataCollectionDiameter | PQ | 0..1 | DEFINITION: The diameter of the region over which information is acquired. EXAMPLE(S): OTHER NAME(S): Exposure Modulation Type (0018,9323) NOTE(S): The units are of linear distince, e.g. mm..
Imaging Acquisition | ImagingAcquisitionProtocolElement | imageTypeCode | DSET<CD> | 1..1 | DEFINITION: A coded value that specifies the most important aspect of the images or their derivation. EXAMPLE(S): DYNAMIC, STRESS, RCBV OTHER NAME(S): NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | respiratoryMotionTechniqueCode | CD | 0..1 | DEFINITION: The means to be used to coordinate the collection or reconstruction of data with breathing. EXAMPLE(S): NONE, BREATH_HOLD, REALTIME, GATING, TRACKING, RETROSPECTIVE, CORRECTION OTHER NAME(S): Respiratory Motion Compensation Technique (00
Imaging Acquisition | ImagingProcessProtocol |  |  |  | DEFINITION: A collection of activities for the purpose of obtaining images of the subject, including purpose and objectives, and a description of the appropriate equipment characteristics, subject preparation and positioning, anatomical location, function
Imaging Acquisition | ImagingProcessProtocolElement |  |  |  | DEFINITION: A set of parameter values necessary to obtain or reconstruct a set of images for an imaging process protocol. EXAMPLE(S): A chest Protocol might include three elements: two localizer CT radiographs (AP and Lateral) and a single helical scan,
Imaging Acquisition | ImagingProcessProtocolElement | primaryAnatomicSiteCode | DSET<CD> | 0..* | DEFINITION: A coded value specifying the anatomic location that is the focus of this imaging process protocol element. EXAMPLE(S): Kidney OTHER NAME(S): NOTE(S): Multiple contiguous sites within the same organ system may be referenced. Sources that c
Imaging Acquisition | ImagingProcessProtocolElement | summary | ST | 0..1 | DEFINITION: A brief statement about the characteristics of this element, which is intended for use by the radiologist, technologist and/or physicist during management of the imaging protocol to understand the characteristics of the element in the protocol
Imaging Acquisition | ImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single scan. EXAMPLE(S): A CT Protocol frequently specifies multiple reconstructions. For example, a single helical Acquisition Element may be recon
Imaging Acquisition | ImagingReconstructionProtocolElement | algorithmCode | CD | 1..1 | DEFINITION: A coded value specifying the algorithm to use when reconstructing the image from the data acquired during the acquisition process. EXAMPLE(S): For CT: FILTER_BACK_PROJ, ITERATIVE For PET: FILTER_BACK_PROJ, REPROJECTION, RAMLA, MLEM OTHER
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionDiameter | IVL<PQ> | 0..1 | DEFINITION: The diameter of the region from which data is used in creating the reconstruction of the image. EXAMPLE(S): OTHER NAME(S): Reconstruction Diameter (0018,1100) NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionFieldOfViewHeight | IVL<PQ> | 0..1 | DEFINITION: The vertical dimension of the rectangular region from which data is used in creating the reconstruction of the image. EXAMPLE(S): OTHER NAME(S): Reconstruction Field of View (0018,9317) - second value NOTE(S): The units are of linear distan
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionFieldOfViewWidth | IVL<PQ> | 0..1 | DEFINITION: The horizontal dimension of the rectangular region from which data is used in creating the reconstruction of the image. EXAMPLE(S): OTHER NAME(S): Reconstruction Field of View (0018,9317) - first value NOTE(S): The units are of linear dista
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionInterval | IVL<PQ> | 0..1 | DEFINITION: The cross plane distance between the centers of adjacent, parallel reconstructed images. EXAMPLE(S): OTHER NAME(S): Spacing Between Slices (0018,0088) NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | sliceThickness | IVL<PQ> | 0..1 | DEFINITION: The cross plane dimension of the reconstructed image. EXAMPLE(S): OTHER NAME(S): Slice Thickness (0018,0050) NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | typeCode | CD | 1..1 | DEFINITION: A coded value specifying the kind of algorithm used when reconstructing the image from the data acquired during the acquisition process. EXAMPLE(S): For PET: 2D, 3D, 3D_REBINNED OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single MR scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): OTHER NAME(S): NOTE(S
Imaging Acquisition | MRImagingAcquisitionProtocolElement | acquisitionContrastCode | CD | 1..1 | DEFINITION: A coded value specifying the inherent (as opposed to exogenous) contrast in the acquisition. EXAMPLE(S): DIFFUSION FLOW_ENCODED - Flow Encoded contrast FLUID_ATTENUATED - Fluid Attenuated T2 weighted contrast PERFUSION - Perfusion weighted c
Imaging Acquisition | MRImagingAcquisitionProtocolElement | arterialSpinLabelingContrastCode | CD | 1..1 | DEFINITION: A coded value specifying how arterial water is used as a diffusable tracer. EXAMPLE(S): CONTINUOUS - a single long low powered RF pulse PSEUDOCONTINUOUS - multiple short low powered RF pulses PULSED - a single short high powered RF pulse
Imaging Acquisition | MRImagingAcquisitionProtocolElement | diffusionBValue | IVL<PQ> | 1..1 | DEFINITION: The factor by which the acquisition is sensitized to the Brownian motion of water molecules. EXAMPLE(S): OTHER NAME(S): diffusion sensitization factor NOTE(S): The units are of time/area, e.g. s/mm2.
Imaging Acquisition | MRImagingAcquisitionProtocolElement | diffusionDirectionalityCode | CD | 1..1 | DEFINITION: A coded value specifying whether diffusion conditions for the frame are directional, or isotropic with respect to direction.. EXAMPLE(S): DIRECTIONAL, BMATRIX, ISOTROPIC, NONE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | echoPlanarPulseSequenceIndicator | BL | 1..1 | DEFINITION: Specifies whether multiple echos of different phase steps are acquired using rephasing gradients instead of repeated 180-degree pulses. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | echoPulseSequenceCategoryCode | CD | 1..1 | DEFINITION: A coded value specifying an echo category of pulse sequences. EXAMPLE(S): SPIN, GRADIENT, BOTH OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | inversionRecoveryIndicator | BL | 1..1 | DEFINITION: Specifies whether an inversion recovery preparatory sequence is used in the acquisition. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | magneticFieldStrength | PQ | 1..1 | DEFINITION: A vector quantity indicating the ability of a magnetic field to exert a force on moving electric charges. [The American Heritage® Science Dictionary] EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of magnetic flux density, e.g. tesla.
Imaging Acquisition | MRImagingAcquisitionProtocolElement | multipleSpinEchoIndicator | BL | 1..1 | DEFINITION: Specifies whether different lines in k-space are collected for a single frame. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | phaseContrastIndicator | BL | 1..1 | DEFINITION: Specifies whether this is a pulse sequence in which the flowing spins are velocity encoded in phase. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | pulseSequenceName | ST | 1..1 | DEFINITION: Name of the pulse sequence that is used for the acquisition. EXAMPLE(S): OTHER NAME(S): NOTE(S): This is usually a vendor-specific name.
Imaging Acquisition | MRImagingAcquisitionProtocolElement | resonantNucleusCode | CD | 1..1 | DEFINITION: A coded value specifying the atomic nucleus that is the target of the acquisition. EXAMPLE(S): 1H, 3HE, 7LI, 13C, 19F, 23NA, 31P, 129XE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | saturationRecoveryIndicator | BL | 1..1 | DEFINITION: Specifies whether a saturation recovery pulse sequence is used. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | spectrallySelectedSuppressionCode | CD | 1..1 | DEFINITION: A coded value specifying the type of substance-specific signal suppression is used. EXAMPLE(S): FAT, WATER, FAT_AND_WATER, SILICON_GEL, NONE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | steadyStatePulseSequenceCode | CD | 1..1 | DEFINITION: A coded value specifying how residual transverse magnetization is maintained during the acquisition. EXAMPLE(S): FREE_PRECESSION, TRANSVERSE, TIME_REVERSED, LONGITUDINAL, NONE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | timeOfFlightContrastIndicator | BL | 1..1 | DEFINITION: Specifies whether contrast is created by the inflow of blood in the saturated plane. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single MR scan. EXAMPLE(S): OTHER NAME(S): NOTE(S): Given that this sub-subclass of ImagingProcessProtocolElement actually names the process as R
Imaging Acquisition | MRImagingReconstructionProtocolElement | complexImageComponentCode | CD | 0..1 | DEFINITION: A coded value specifying the channel of the quadrature detected data, or the combination derived from those channels, used to reconstruct the image EXAMPLE(S):: REAL, IMAGINARY, PHASE or MAGNITUDE OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization |  |  |  | DEFINITION: A formalized group of persons or other organizations collected together for a common purpose (such as administrative, legal, political) and the infrastructure to carry out that purpose. EXAMPLE(S): US National Cancer Institute (NCI); CDISC; H
Imaging Acquisition | Organization | actualIndicator | BL | 1...1 | DEFINITION: Specifies whether the organization is a particular instance (actual) vs. universal kind. EXAMPLE(S): To indicate a particular Organization, actualIndicator = "true". To indicate a kind of Organization, actualIndicator = "false". OTHER NAME(S
Imaging Acquisition | Organization | description | ST | 0..1 | DEFINITION: The textual representation of the organization. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | effectiveDateRange | IVL<TS.DATETIME> | 0..1 | DEFINITION: The date (and time) span for when the organization is active. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | identifier | ID | 1...1 | DEFINITION: A unique symbol that establishes identity of the organization. EXAMPLE(S): 03008 is the U.S. National Cancer Institute Cancer Therapy Evaluation Program (CTEP) ID for Sacred Heart Hospice in Darlinghurst, New South Wales, Australia OTHER NAM
Imaging Acquisition | Organization | name | DSET<ON> | 0..* | DEFINITION: A non-unique textual identifier for the organization. EXAMPLE(S): St. Marys Hospital; US National Cancer Institute (NCI); CDISC; HL7, ACME Corporation, Eastern Cooperative Oncology Group OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | postalAddress | AD | 0..1 | DEFINITION: A contact point used to send physical forms of communication to the organization. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | telecomAddress | BAG<TEL> | 0..* | DEFINITION: A sequence of digits or characters used to identify a particular telephone, fax, or email of the organization. EXAMPLE(S): OTHER NAME(S): NOTE(S): The set of digits that serves as the address for a telephone device. Included in the phone n
Imaging Acquisition | Organization | typeCode | CD | 0..1 | DEFINITION: A coded value specifying the kind of organization. EXAMPLE(S): academic, pharmaceutical industry, government, other commercial, non-commercial [example from EudraCT] consortium (an organization composed of other organizations that collabora
Imaging Acquisition | PerformedActivity |  |  |  | DEFINITION: An activity that is successfully or unsuccessfully completed. EXAMPLE(S): CBC performed on a specific StudySubject on a given day. A scheduled blood draw that is missed by a specific ExperimentalUnit on a given day. Generating an Anatomic
Imaging Acquisition | PerformedActivity | dateRange | IVL<TS.DATETIME> | 0..1 | DEFINITION: The date and time span when this activity began and ended. EXAMPLE(S): The date and time when a sample is taken from the subject. A dose of chemotherapy is given on June 12th starting at 9am and finishing at 12pm. OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | dateRangeValidationCode | CD | 0..1 | DEFINITION: A coded value specifying the degree of authoritativeness or certiitude of the date of the activity EXAMPLE(S): date estimated date greater than 100 days - day is correct date known date less than 100 days - date is correct date previously re
Imaging Acquisition | PerformedActivity | delayDuration | PQ.TIME | 0..1 | DEFINITION: The period of time that an action is delayed relative to an original schedule. EXAMPLE(S): If a substance administration is delayed 2 days as a result of an adverse event, then the delayDuration is 2 days. OTHER NAME(S): NOTE(S): Derived f
Imaging Acquisition | PerformedActivity | duration | PQ.TIME | 0..1 | DEFINITION: The period of time over which the activity is performed. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from the notion of duration in the IVL (width) portion of the dateRange attribute.
Imaging Acquisition | PerformedActivity | fastingStatusIndicator | BL | 0..1 | DEFINITION: Specifies whether the participant had been abstaining from eating when the activity was performed. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from the presence of a PerformedObservation (e.g. "Was the subject fasting when the specimen coll
Imaging Acquisition | PerformedActivity | informationSourceTypeCode | CD | 0..1 | DEFINITION: A coded value specifying the kind of system or data collection from which the record of the activity was derived. EXAMPLE(S): OD = Order BI = Billing CL = Claim NI = No information UN = Unknown OT = Other OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | medicalHistoryIndicator | BL | 0..1 | DEFINITION: Specifies whether the activity is considered part of the historical record of a subject, that is, it did not occur within the bounds of the study. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from comparing the date range of the activity (P
Imaging Acquisition | PerformedActivity | nameCodeModifiedText | ST | 0..1 | DEFINITION: A character string that is a revision of the original text of the activity designation to enable the coding of the text. EXAMPLE(S): If the originalText is "apendectomy", the valueCodeModifiedText could be changed to "appendectomy", so that
Imaging Acquisition | PerformedActivity | negationIndicator | BL | 0..1 | DEFINITION: Specifies whether an activity did not occur. EXAMPLE(S): If a subject did not take aspirin in the previous week, the negationIndicator = "true". OTHER NAME(S): NOTE(S): If it is important to capture the fact that a particular activity did n
Imaging Acquisition | PerformedActivity | negationReason | DSET<SC> | 0..* | DEFINITION: The text and/or code that describes why an activity did not occur. EXAMPLE(S): forgot to ask, sample lost OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | orderCareSettingTypeCode | CD | 0..1 | DEFINITION: A coded value specifying the level of healthcare (care setting) the patient was in when the order was given. EXAMPLE(S): I = Inpatient Order A = Ambulatory Order NI = No information OTHER NAME(S): Order Type NOTE(S):
Imaging Acquisition | PerformedActivity | orderDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the activity was ordered. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | orderedNumberOfRepeats | INT.POS | 0..1 | DEFINITION: The number of times an activity can recur again. EXAMPLE(S): For a study agent transfer, this would be the number of times a supply of the transferred agent can be replenished. OTHER NAME(S): Refills NOTE(S):
Imaging Acquisition | PerformedActivity | orderUrgencyCode | CD | 0..1 | DEFINITION: A coded value specifying the immediacy of the order. EXAMPLE(S): E = Expedite R = Routine S = Stat U = Unknown or null OTHER NAME(S): Priority NOTE(S):
Imaging Acquisition | PerformedActivity | repetitionNumber | INT.POS | 0..1 | DEFINITION: An integer that identifies the particular occurrence of a repeating activity. The first repetition is defined as '1'. EXAMPLE(S): A PlannedActivity might have a repeatQuantity of 4 which would result in 4 ScheduledActivity and PerformedActivi
Imaging Acquisition | PerformedActivity | statusCode | CD | 0..1 | DEFINITION: A coded value specifying the phase in the lifecycle of a performed activity. EXAMPLE(S): For a lab test, this would be the condition or stage in the lifecycle of the test (e.g., "completed", "canceled", etc.). OTHER NAME(S): NOTE(S): Please
Imaging Acquisition | PerformedActivity | statusDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the status is assigned to the activity. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | studyDayRange | IVL<INT> | 0..1 | DEFINITION: The relative timing for a performed activity expressed as the number of days offset from the study-defined reference activity (e.g., date of registration, start of treatment) for this particular experimental unit. EXAMPLE(S): Day 1, Days 10-2
Imaging Acquisition | PerformedActivityRelationship |  |  |  | DEFINITION: A reference from an activity to another activity or an external document. EXAMPLE(S): An unplanned substance administration occurs as part of a planned encounter. A planned substance administration occurs as part of an encounter that is dif
Imaging Acquisition | PerformedActivityRelationship | separableIndicator | BL | 0..1 | DEFINITION: Specifies whether the referencing activity is intended to be interpreted independently of the referenced item. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivityRelationship | sequenceNumber | INT.NONNEG | 0..1 | DEFINITION: An integer specifying the relative sequential or temporal ordering of this relationship among other similar relationships having the same source. EXAMPLE(S): In a problem set, this may incidate the relative order of a series of images and/or
Imaging Acquisition | PerformedActivityRelationship | typeCode | CD | 0..1 | DEFINITION: A coded value specifying the kind of relationship between the activity and the referenced item. EXAMPLE(S): ELNK = EpisodeLink REFR = Refers to RPLC = replaces SPRT = has support SUBJ = has subject XCRPT = Excerpts OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedImagingStudy |  |  |  | DEFINITION: A collection of images and information that are logically related for the purpose of diagnosing an imaging study subject. [Source: http://dicom.nema.org/medical/dicom/current/output/chtml/part03/chapter_A.html#sect_A.1.2.2] EXAMPLE(S): OTH
Imaging Acquisition | PerformedImagingStudy | admittingDiagnosisCode | DSET<CD> | 0..* | DEFINITION: The identified disease(s) or illness(es) at the time of the admission during which imaging was performed. EXAMPLE(S): OTHER NAME(S): NOTE(S): This value is derived from the path: PerformedImagingStudy &gt; Subject &gt; PerformedObservation
Imaging Acquisition | PerformedImagingStudy | description | ST | 0..1 | DEFINITION: The textual representation of the certain or salient aspects, characteristics, or features of the imaging study. [Adapted from www.businessdictionary.com] EXAMPLE(S): OTHER NAME(S): NOTE(S): Usually this describes the manner in which the im
Imaging Acquisition | PerformedImagingStudy | dicomStudyID | ST | 0..1 | DEFINITION: The user- or equipment-generated identifier of an instance of a DICOM study entity that corresponds to the performed imaging study. EXAMPLE(S): 1234 OTHER NAME(S): FHIR ImagingStudy.identifier NOTE(S): This is intended to be a human readab
Imaging Acquisition | PerformedImagingStudy | imageCount | INT.NONNEG | 0..1 | DEFINITION: The number of DICOM instances in the performed imaging study. EXAMPLE(S): OTHER NAME(S): Number of Study Related Instances (0020,1208) NOTE(S):
Imaging Acquisition | PerformedImagingStudy | imagingAccessionIdentifier | II | 0..1 | DEFINITION: An order filler system-generated identifier for the order for the imaging study. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedImagingStudy | lossyImageCompressionIndicator | BL | 0..1 | DEFINITION: Specifies whether any images in the study are irreversibly altered during encoding at any time during its life. EXAMPLE(S): If even just one image in the study has been lossy compressed, the loggyImageCompressionIndicator = "true". OTHER NAM
Imaging Acquisition | PerformedImagingStudy | nonAcquisitionModalitiesInStudyCode | DSET<CD> | 0..* | DEFINITION: A coded value specifying the type of equipment that created the images in this imaging study other than that used to acquire the original data. EXAMPLE(S): SR (Structured Report), KO (Key Object), SEG (Segmentation), DOC (document) OTHER NAM
Imaging Acquisition | PerformedImagingStudy | seriesCount | INT.NONNEG | 0..1 | DEFINITION: The number of DICOM series in the performed imaging study. EXAMPLE(S): OTHER NAME(S): Number of Study Related Series (0020,1206) NOTE(S):
Imaging Acquisition | PerformedImagingStudy | storageSOPClassesInStudy | DSET<OID> | 0..* | DEFINITION: The unique identifier of a DICOM Storage Service-Object Pair Class used to encode an instance of the imaging study. EXAMPLE(S): 1.2.840.10008.5.1.4.1.1.2 (CT Image Storage SOP Class) OTHER NAME(S): SOP Classes in Study (0008,0062) NOTE(S):
Imaging Acquisition | PerformedImagingStudy | subjectAge | PQ.TIME | 0..1 | DEFINITION: The length of time since the birth of the imaging subject in completed units. [Adapted from: Google and caDSR Public ID 2423393] EXAMPLE(S): 17 years (years completed) OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &
Imaging Acquisition | PerformedImagingStudy | subjectHeight | PQ | 0..1 | DEFINITION: The distance from the bottom to the top of the imaging study subject. [adapted from http://www.merriam-webster.com/dictionary/height] EXAMPLE(S): 1.75 meters OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; Perform
Imaging Acquisition | PerformedImagingStudy | subjectHistory | ST | 0..1 | DEFINITION: Information about the subject obtained by asking questions [Adapted from: https://en.wikipedia.org/wiki/Medical_history] EXAMPLE(S): OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; PerformedObservation &gt; Perfo
Imaging Acquisition | PerformedImagingStudy | subjectWeight | PQ | 0..1 | DEFINITION: The measurement that indicates how heavy an imaging study subject is. [adapted from http://www.merriam-webster.com/dictionary/weight] EXAMPLE(S): 75 kg OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; PerformedObse
Imaging Acquisition | PerformedObservation |  |  |  | DEFINITION: The completed action of observing, monitoring, measuring or otherwise qualitatively or quantitatively gathering data or information about one or more aspects of a subject. EXAMPLE(S): lab test, taking vital signs, physical exam, specimen qual
Imaging Acquisition | PerformedObservation | additionalQualifier | ANY | 0..* | DEFINITION: A value specifying a supplemental characterization of the observation EXAMPLE(S): For SDTM MI domain, this could be an intensity score or a percentage of cells displaying the presence of the biomarker or compound OTHER NAME(S): NOTE(S): Thi
Imaging Acquisition | PerformedObservation | analysisMethodCode | CD | 0..1 | DEFINITION: A coded value specifying the technique used for secondary processing applied to a complex observation result (e.g. an image or a genetic sequence) to obtain a summarized result. EXAMPLE(S): Lowess, Paired-end mapping, Probe Signal Intensity,
Imaging Acquisition | PerformedObservation | approachAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location or access point for an observation. EXAMPLE(S): Anus for a colonoscopy observation OTHER NAME(S): NOTE(S): Neither target anatomic site nor approach anatomic site is necessarily required or re
Imaging Acquisition | PerformedObservation | approachAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is an access point for a observation. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 sinc
Imaging Acquisition | PerformedObservation | bodyPositionCode | CD | 0..1 | DEFINITION: A coded value specifying the 3-dimensional spatial orientation of a subject during a particular observation. EXAMPLE(S): supine, trendelenburg, standing OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | bodySystemCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomical structure that consists of organs and organ subclasses responsible for certain body functions. EXAMPLE(S): gastrointestinal system, urinary system, hematopoietic system OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | derivationMethodCode | CD | 1..1 | DEFINITION: A coded value specifying the technique used to calculate a measured value. EXAMPLE(S): mean, maximum of set OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | focalDateRange | IVL<TS.DATETIME> | 0..1 | DEFINITION: The time period in which the observation result is held to be true. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from DefinedObservation.focalDateRange alone (i.e., directly from simple date ranges like 1990-1999) or from evaluating the expr
Imaging Acquisition | PerformedObservation | focalDuration | PQ.TIME | 0..1 | DEFINITION: The quantity of time in which the observation result is held to be true. EXAMPLE(S): 2 months is the focalDuration for a question such as "Have you smoked in the last 2 months?". OTHER NAME(S): NOTE(S): Derived from PerformedObservation.foc
Imaging Acquisition | PerformedObservation | methodCode | CD | 0..1 | DEFINITION: A coded value specifying the technique used to perform the observation. EXAMPLE(S): Arterial puncture, sphygmomanometry (for blood pressure measurement) Global introspection, algorithm, bayesian (for Adverse Event causality) Estrogen Recept
Imaging Acquisition | PerformedObservation | targetAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location that is the focus of the observation. EXAMPLE(S): Lower intestine for a colonoscopy observation OTHER NAME(S): NOTE(S): The target site of the result may be different than the target site of th
Imaging Acquisition | PerformedObservation | targetAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is a target site for an observation. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since
Imaging Acquisition | PerformedObservation | timePointCode | CD | 0..1 | DEFINITION: A coded value specifying the occasion when the observation was performed. EXAMPLE(S): AD = Admitting DI = Discharge FI = Final IN = Interim NI = No information UN = Unknown OT = Other OTHER NAME(S): Diagnosis Source NOTE(S): Theoreticall
Imaging Acquisition | PETImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single PET scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): OTHER NAME(S): NOTE(
Imaging Acquisition | PETImagingAcquisitionProtocolElement | gantryDetectorTilt | IVL<PQ> | 1..1 | DEFINITION: Nominal angle of tilt in degrees of the scanning gantry. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of plane angle , e.g. degrees. Zero degrees means the gantry is not tilted, negative degrees are when the top of the gantry is tilt
Imaging Acquisition | PETImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single PET scan. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | ProcessProtocol |  |  |  | DEFINITION: A standard operating procedure (SOP) that is a collection of activities and the rules that describe when each activity is performed to achieve a specific purpose or objective(s). EXAMPLE(S): Specimen Collection Protocol; Specimen Processing
Imaging Acquisition | ProcessProtocol | title | ST | 0..1 | DEFINITION: The textual designation by which the protocol is referenced. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Product |  |  |  | DEFINITION: A material produced by or resulting from a process. EXAMPLE(S): animal and human drugs; therapeutic biologics; allergenics; cell, tissue and gene therapy products; blood components; blood derivative products; devices; animal (pets and livesto
Imaging Acquisition | Radiopharmaceutical |  |  |  | DEFINITION: A radioactive drug that is used for the diagnosis or treatment of disease. EXAMPLE(S): Technetium^99m DMSA Sodium fluoride F^18^ Fluorodeoxyglucose F^18^ OTHER NAME(S): Medicinal radiocompounds Radioactive tracer NOTE(S):
Imaging Acquisition | Radiopharmaceutical | radionuclideCode | CD | 1..1 | DEFINITION: A coded value that specifies the radioactive isotope in the radiophamaceutical. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived by tracing the radiopharmaceutical through its ingredients to the radionuclide, i.e. Radiophamaceutical &gt; Prod
Imaging Acquisition | SpecificImagingProcessProtocol |  |  |  | DEFINITION: Provides the details for how the images in the imaging study <u>were </u>captured and reconstructed previously so that the <u>process can be replicated</u>, such as a complete description of imaging parameters, instrumentation, subject positi