## Diagram_Metadata_Report
BRIDG Imaging Acquisition Metadata Report, generated on Feb. 4, 2019
BRIDGmodel.nci.nih.gov
DIAGRAM NAME | CLASS NAME | ATTRIBUTE NAME | DATA TYPE | CARDINALITY | DESCRIPTION
Imaging Acquisition | CTImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single CT scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): A chest Protocol might include three elements: two localizer CT radiographs (AP and Lateral) and a single helical scan, each of which would be described in separate steps with different parameter values. OTHER NAME(S): NOTE(S): Given that this sub-subclass of ImagingProcessProtocolElement actually names the process as Acquisition and includes that word in the name of the class, the word Process is omitted from the class name.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | ctdiPhantomTypeCode | CD | 0..1 | DEFINITION: The type of phantom to use for CTDI measurement according to IEC 60601-2-44. EXAMPLE(S): (113690, DCM, "IEC Head Dosimetry Phantom") (113691, DCM, "IEC Body Dosimetry Phantom") OTHER NAME(S): Computed Tomography Dose Index (CTDI) Phantom Type Code NOTE(S):
Imaging Acquisition | CTImagingAcquisitionProtocolElement | ctdiVol | IVL<PQ> | 0..1 | DEFINITION: The average dose over the total volume scanned for the selected CT conditions of operation (calculated according to IEC 60601-2-44, Ed.2.1 (Clause 29.1.103.4)). EXAMPLE(S): OTHER NAME(S): Computed Tomography Dose Index (CTDI) Volume NOTE(S): The units are energy dose, e.g. mGy.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | exposureModulationTypeCode | DSET<CD> | 0..* | DEFINITION: The manner in which tube current is varied in order to limit the dose. EXAMPLE(S): NONE ANGULAR = current is modulated over different tube angles LONGITUDINAL = current is modulated along the axis of the table ECG_BASED = current is modulated based on the cardiac phase ORGAN_BASED = current is modulated based on the organs in the field of view OTHER NAME(S): Exposure Modulation Type (0018,9323) NOTE(S):
Imaging Acquisition | CTImagingAcquisitionProtocolElement | gantryDetectorTilt | IVL<PQ> | 0..1 | DEFINITION: Nominal angle of tilt in degrees of the scanning gantry. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of plane angle , e.g. degrees. Zero degrees means the gantry is not tilted, negative degrees are when the top of the gantry is tilted away from where the table enters the gantry.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | kVp | IVL<PQ> | 0..1 | DEFINITION: Peak kilovoltage output of the x-ray generator. EXAMPLE(S): 140 kv OTHER NAME(S): KVP (0018,0060) NOTE(S): The units are of electrical potential.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | singleCollimationWidth | IVL<PQ> | 0..1 | DEFINITION: The width of a single row of acquired data. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of linear distince, e.g. mm.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | spiralPitchFactor | IVL<PQ> | 0..1 | DEFINITION: Ratio of the distance that the table moves during a complete revolution of the source around the gantry orbit, to the width of the total collimation over the area of active x-ray detection. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of unity.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | tableSpeed | IVL<PQ> | 0..1 | DEFINITION: The distance that the table moves per unit of time during the gathering of data. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of linear distance divided by time.
Imaging Acquisition | CTImagingAcquisitionProtocolElement | totalCollimationWidth | IVL<PQ> | 0..1 | DEFINITION: The width of the total collimation over the area of active x-ray detection. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of linear distince, e.g. mm.
Imaging Acquisition | CTImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single CT scan. EXAMPLE(S): A CT Protocol frequently specifies multiple reconstructions. For example, a single helical Acquisition Element may be reconstructed once as thin slices and a second time as thick slices. OTHER NAME(S): NOTE(S): Given that this sub-subclass of ImagingProcessProtocolElement actually names the process as Reconstruction and includes that word in the name of the class, the word Process is omitted from the class name.
Imaging Acquisition | CTImagingReconstructionProtocolElement | convolutionKernel | ST | 0..1 | DEFINITION: A label describing the mathematical operations used to reconstruct images from the acquired data. EXAMPLE(S): For soft tissue: B30 (Seimens), Standard (GE), FC03 (Toshiba) OTHER NAME(S): Convolution Kernel (0018,1210) NOTE(S): The values for this attribute are vendor specific and not coded.
Imaging Acquisition | CTImagingReconstructionProtocolElement | convolutionKernelGroupCode | DSET<CD> | 0..1 | DEFINITION: A coded value specifying the family of mathematical operations to use to reconstruct images from the acquired data. EXAMPLE(S): BRAIN SOFT_TISSUE LUNG BONE CONSTANT_ANGLE OTHER NAME(S): Convolution Kernel Group (0018,9316) NOTE(S):
Imaging Acquisition | DefinedActivity |  |  |  | DEFINITION: An activity that frequently occurs in studies (e.g. more than one time in more than one arm) and/or experiments and therefore is called out as a reusable template in a global library of activities outside the context of any particular study or experiment, and may be used in the composition of a defined subject activity group. A defined activity is a "kind of" activity rather than an "instance of" an activity. EXAMPLE(S): Standard blood chemistries are frequently included in studies - also activities that are study-specific and recur more than one time in more than one arm may be defined, such as a substance administration activity involving X amount of drug Y. OTHER NAME(S): NOTE(S): A defined activity is represented here as a subtype of Activity, but could also be thought of as an activity at a particular stage in the business process in which the activities occur, i.e., in the "defined" stage rather than the "planned" stage, the "scheduled" stage or the "performed" stage.
Imaging Acquisition | DefinedActivity | categoryCode | CD | 0..1 | DEFINITION: A coded value specifying a classification of activities. EXAMPLE(S): In the case where categoryCode = "anti-cancer treatment", the subcategoryCode may = "radiotherapy", and the nameCode may = "external beam radiotherapy". In Procedure, categoryCode may = "abdominal surgery". In AdministrativeActivity, the categoryCode may = "Disposition" (off study, epoch completion), "Milestone" (informed consent, enrollment, registry, randomization) or "Other" (unblinding) activities. For lab procedures, categoryCode may = "hematology", "urinalysis", or "chemistry". OTHER NAME(S): NOTE(S): Theoretically speaking, the categoryCode should be derivable from the subcategoryCode, however if there may only be a category and not a subcategory, then both attributes must be present in the model. When value sets are defined for this attribute, we may need to move it to the DefinedActivity subclasses so that the different value domains can be bound to the correct subclass.
Imaging Acquisition | DefinedActivity | description | ST | 0..1 | DEFINITION: The textual representation of the activity. EXAMPLE(S): OTHER NAME(S): NOTE(S): This may contain more detail than the description present in the text part of a coded concept.
Imaging Acquisition | DefinedActivity | nameCode | CD | 1...1 | DEFINITION: A coded value specifying the non-unique textual identifier for the activity. EXAMPLE(S): CPT4 or SNOMED term for a surgical procedure. Coded value for a single analytic procedure in a lab test. The code and text of an individual question on the eligibility checklist of a protocol. OTHER NAME(S): NOTE(S): The textual description of the activity is captured in the complex data type CD.
Imaging Acquisition | DefinedActivity | repeatDuration | PQ.TIME | 0..1 | DEFINITION: The period of time over which the activity is repeated. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from repeatQuantity and repeatFrequencyCode or repeatFrequencyRatio (constraint allows only one). In any given implementation, if quantity is not provided, duration may be provided instead, however the BRIDG team determined that quantity is considered more fundamental for a domain analysis model.
Imaging Acquisition | DefinedActivity | repeatFrequencyCode | CD | 0..1 | DEFINITION: A coded value specifying the number of occurrences of an activity within a given time period. EXAMPLE(S): BID = Two times per day, at unspecified times (does not necessarily imply that these are 12 hours apart) Q12H = Every twelve hours OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedActivity | repeatFrequencyRatio | RTO<INT.NONNEG,PQ.TIME> | 0..1 | DEFINITION: A ratio representing the number of occurrences of an activity within a given time period. EXAMPLE(S): Once per 12 hours 2 times per day OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedActivity | repeatQuantityRange | URG<INT.NONNEG> | 0..1 | DEFINITION: An integer falling within minimum and maximum bounds that specifies how many times the activity occurs. EXAMPLE(S): OTHER NAME(S): NOTE(S): If the frequency is more than once a day, this is still interpreted per time, e.g. BID for 5 days = 10 repeats.
Imaging Acquisition | DefinedActivity | statusCode | CD | 0..1 | DEFINITION: A coded value specifying the phase in the lifecycle of the activity as part of a global library. EXAMPLE(S): Draft New, Released, Retired Archived OTHER NAME(S): NOTE(S): Please refer to the Defined Activity Status state transition diagram for further details.
Imaging Acquisition | DefinedActivity | statusDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the status is assigned to the activity. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedActivity | subcategoryCode | CD | 0..1 | DEFINITION: A coded value specifying a subdivision within a larger category of activities. EXAMPLE(S): chemotherapy, radiotherapy, hormonal therapy, alternative therapy In the case where categoryCode = "anti-cancer treatment", subcategoryCode may = "radiotherapy", and nameCode may = "external beam radiotherapy". If categoryCode = "Intervention", subcategoryCode may = "Drug" (including placebo), "Device" (including sham), "Biological/Vaccine", "Procedure/Surgery", "Radiation", "Behavioral" (e.g., Psychotherapy, Lifestyle Counseling), "Genetic" (including gene transfer, stem cell and recombinant DNA), Dietary Supplement. OTHER NAME(S): NOTE(S): Theoretically speaking, the categoryCode should be derivable from the subcategoryCode, however if there may only be a category and not a subcategory, then both attributes must be present in the model.
Imaging Acquisition | DefinedCompositionRelationship |  |  |  | DEFINITION: A relationship between a composite activity and a component activity that comprises it, i.e. parent and child activities, where all these activities are part of a global library of activities. EXAMPLE(S): A battery of tests may be composed of multiple routine labs that are always ordered together as a group. A glucose tolerance test which is comprised of administering glucose and taking multiple timed blood samples which are then tested for glucose. OTHER NAME(S): NOTE(S): This class helps represent an AND relationship between siblings with the same parent activity.
Imaging Acquisition | DefinedCompositionRelationship | joinCode | CD | 0..1 | DEFINITION: A coded value specifying whether, and how, a specific activity in a set of parallel activities should come together before subsequent activities can begin. EXAMPLE(S): Wait for this activity to complete before the subsequent activity; Terminate this activity as soon as all parallel "wait" activities are completed (and if this activity hasn't started yet, don't start it at all); Continue this activity after all "wait" activities complete, but don't wait for it to complete before beginning subsequent activities. OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedCompositionRelationship | pauseQuantityRange | URG<PQ.TIME> | 0..1 | DEFINITION: A quantity of time falling within minimum and maximum bounds that specifies the elapsed time between when an activity is ready for execution and the actual beginning of the execution. EXAMPLE(S): A visit is composed of 3 activities: a physical exam at the beginning <u>of the visit</u>, a drug administration 30 minutes <u>into the visit</u>, and a blood test 2 hours <u>into the visit</u> – the pauseQuantityRange for the physical exam is 0 minutes, 30 minutes for the drug administration and 2 hours for the blood test OTHER NAME(S): NOTE(S): The pauseQuantityRange defines the amount of time between two points in time: (1) the point when all preceding steps (in sequence) and preconditions of an activity have been completed, and (2) the actual start of the activity. The completion of all pre-conditions and preceding steps (based on sequence number) indicates that an activity is "ready for execution" according to the definition above. The pauseQuantityRange counter or timeclock starts then, and when the full amount of time is reached, the activity begins. A pauseQuantityRange with a negative value means that the activity starts some amount of time prior to the estimated time that the activity is "ready for execution", i.e. prior to the estimated time that the pre-conditions and preceding steps will be completed.
Imaging Acquisition | DefinedCompositionRelationship | sequenceNumber | INT.NONNEG | 0..1 | DEFINITION: An integer specifying the relative sequential or temporal ordering of this relationship among other similar relationships having the same source. EXAMPLE(S): OTHER NAME(S): From DICOM: Protocol Element Number (0018,9921) NOTE(S): In a course of treatment (a composite activity) that is composed of a chemotherapy activity and a radiotherapy activity, the sequence number indicates which component activity precedes the other.
Imaging Acquisition | DefinedProcedure |  |  |  | DEFINITION: An activity defined at a global library level that is an action whose immediate and primary intention is the alteration of the physical condition of the subject. EXAMPLE(S): Procedures may involve the disruption of some body surface (e.g. an incision in a surgical procedure). Conservative procedures such as reduction of a luxated joint, including physiotherapy such as chiropractic treatment, massage, balneotherapy, acupuncture, shiatsu. OTHER NAME(S): NOTE(S): The documented use cases from life sciences are limited to procedure and observations. Use cases for other kinds of activities in life sciences are needed to support this relationship at Activity level. In the next release, this relationship will have to be re-assessed.
Imaging Acquisition | DefinedProcedure | additionalQualifierCode | DSET<CR> | 0..* | DEFINITION: A coded value specifying a supplemental characterization of the procedure. EXAMPLE(S): OTHER NAME(S): NOTE(S): For APSR, this is used only in staining and other procedures without values in SCT or LOINC or DICOM vocabulary, e.g. immune stains. This attribute ought not to be used if there are dedicated attributes for that purpose in this class.
Imaging Acquisition | DefinedProcedure | approachAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location or access point for a procedure. EXAMPLE(S): Arm for an injection Trans-abdominal for a nephrectomy OTHER NAME(S): NOTE(S): Sources that capture anatomic site and laterality separately should map both to this attribute. For implementation models based on BRIDG where site and laterality are captured separately, you may wish to capture both concepts as a post-coordinated code structure or as multiple code repetitions.
Imaging Acquisition | DefinedProcedure | approachAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is an access point for a procedure. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since source use cases for separate laterality include SDTM and CTOM. This change ensures that users of the BRIDG model are not bound to a particular kind of vocabulary, such as pre- or post-coordinated vocabularies. Collapsing laterality into the target site code is an implementation option.
Imaging Acquisition | DefinedProcedure | methodCode | CD | 0..1 | DEFINITION: A coded value specifying the technique that is used for the procedure. EXAMPLE(S): Finger stick, veni puncture, Abdominal/ ascites effusion, Biopsy, Bronchial alveolar lavage (BAL) (for specimen collection) Capillary electrophoresis and HPLC (for In Vitro Characterization) Cell counting, flow cytometry (for In Vivo Characterization) Open, laparoscopic (for cholecystectomy) OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedProcedure | nameCodeModifiedText | ST | 0..1 | DEFINITION: A character string that is a revision of the original text of the procedure to enable the coding of the text. EXAMPLE(S): If the original text is "message", the nameCodeModifiedText could be set to "massage", so that the text can be successfully coded. OTHER NAME(S): NOTE(S): In the context of BRIDG, text modification occurs a single time for a given instance of originalText.
Imaging Acquisition | DefinedProcedure | targetAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location that is the focus of a procedure. EXAMPLE(S): Kidney for a nephrectomy OTHER NAME(S): NOTE(S): Multiple contiguous sites within the same organ system may be referenced. Sources that capture anatomic site and laterality separately should map both to this attribute. For implementation models based on BRIDG where site and laterality are captured separately, you may wish to capture both concepts as a post-coordinated code structure or as multiple code repetitions.
Imaging Acquisition | DefinedProcedure | targetAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is a target site for a procedure. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since source use cases for separate laterality include SDTM and CTOM. This change ensures that users of the BRIDG model are not bound to a particular kind of vocabulary, such as pre- or post-coordinated vocabularies. Collapsing laterality into the target site code is an implementation option.
Imaging Acquisition | DefinedSubstanceAdministration |  |  |  | DEFINITION: An activity defined at a global library level that is an action of applying, introducing or otherwise giving medications or other substances to a subject or experimental unit. EXAMPLE(S): Administration of methotrexate as part of chemotherapy. OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | doseFrequencyCode | CD | 0..1 | DEFINITION: A coded value specifying how often doses are administered. EXAMPLE(S): BID, TID, QID OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | dosePeriodCode | CD | 0..1 | DEFINITION: A coded value specifying the period during which the dose total is administered. EXAMPLE(S): daily, course OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | doseRegimen | ST | 0..1 | DEFINITION: Text description of the intended schedule for administering a substance. EXAMPLE(S): 2 weeks on, 2 weeks off OTHER NAME(S): NOTE(S): This represents the dosing calendar in a text format. This is a non-computational description that may need to be expanded as additional use cases arise.
Imaging Acquisition | DefinedSubstanceAdministration | flowRate | RTO<PQ,PQ.TIME> | 0..1 | DEFINITION: A ratio specifying the speed with which the substance is introduced into the subject. EXAMPLE(S): 100 mL/h 1 g/d 40 mmol/h OTHER NAME(S): NOTE(S):
Imaging Acquisition | DefinedSubstanceAdministration | periodProductDoseTotal | EXPR<PQ> | 0..1 | DEFINITION: Total of all doses of this agent in a given period of time. EXAMPLE(S): OTHER NAME(S): NOTE(S): The given period of time is defined in dosePeriodCode. This is needed because the dose may not always be derivable, e.g., if it is a string, and because it is often used as a cross-check on dose to ensure mistakes are not made in dosing subjects.
Imaging Acquisition | DefinedSubstanceAdministration | productDose | PQ | 1..1 | DEFINITION: The quantity of a substance or medication to be administered. EXAMPLE(S): 5 mg 20 mg of drug per kg of subject weight 370MBq OTHER NAME(S): NOTE(S): DefinedSubstanceAdministration.productDose can contain a dose expressed in absolute or relative terms (e.g., mg or mg/kg). ScheduledSubstanceAdministration.activeIngredientDose and PerformedSubstanceAdministration.productDose must contain a dose expressed in absolute terms (e.g., mg). If the DefinedSubstanceAdministration.productDose was expressed in relative terms (e.g., mg/kg), then the absolute dose must have been calculated using one or more observed factors as identified by the DefinedExpressionVariableRelationship.
Imaging Acquisition | DefinedSubstanceAdministration | routeOfAdministrationCode | CD | 0..1 | DEFINITION: A coded value specifying the physiological path or method of introducing the substance. EXAMPLE(S): oral, intravenous, nasal, intradermal, intracardial OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device |  |  |  | DEFINITION: An object intended for use whether alone or in combination for diagnostic, prevention, monitoring, therapeutic, scientific, and/or experimental purposes. EXAMPLE(S): tongue depressor, pacemaker, insulin pump, EKG machine, x-ray machine, mass spectrometer, polymerase chain reaction (PCR) machine, microscope, pH meter OTHER NAME(S): Equipment NOTE(S):
Imaging Acquisition | Device | age | PQ.TIME | 0..1 | DEFINITION: A measure (or best estimate) of the length of time during which a device existed, measured from manufacture date (and time) to a given date (and time) of use. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from the difference between the manufacture date and the date of the activity in which it is used. This is not really a characteristic of the device since the device could be used in multiple activities.
Imaging Acquisition | Device | availableForEvaluationIndicator | BL | 0..1 | DEFINITION: Specifies whether or not the device is accessible for assessment by the manufacturer. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | ceMarkIndicator | BL | 0..1 | DEFINITION: Specifies whether this device bears a CE (Conformite Europeenne) mark. EXAMPLE(S): OTHER NAME(S): NOTE(S): CE is a mark for device products placed on the market in the European Economic Area (EEA). By placing the CE marking on a product, the manufacturer affirms that the product conforms with the requirements of the applicable European Community directives.
Imaging Acquisition | Device | handlingCode | CD | 0..1 | DEFINITION: A coded value specifying special handling requirements for the device. EXAMPLE(S): keep at room temperature, store upright OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | manufactureDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the device is made. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | overTheCounterProductIndicator | BL | 0..1 | DEFINITION: Specifies whether a device is available over-the-counter. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | reprocessedDeviceCode | CD | 0..1 | DEFINITION: A coded value specifying whether a device is reconditioned. EXAMPLE(S): initial use of device, reuse, unknown OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | returnedToReprocessorDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the device was returned to the manufacturer or reprocessor. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | riskCode | CD | 0..1 | DEFINITION: A coded value specifying the type of hazard or threat associated with the device. EXAMPLE(S): flammable, explosive OTHER NAME(S): NOTE(S):
Imaging Acquisition | Device | singleUseDeviceIndicator | BL | 0..1 | DEFINITION: Specifies whether a device is intended to be used only one time. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug |  |  |  | DEFINITION: An article other than food intended for use in the diagnosis, cure, mitigation, treatment, or prevention of disease; or intended to affect the structure or any function of the body. EXAMPLE(S): aspirin OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | actionModeCode | CD | 0..1 | DEFINITION: A coded value specifying the mode of action through which this substance produces a pharmacological effect. EXAMPLE(S): stimulating action, depressing action, blocking/antagonizing action, stabilizing action, exchanging/replacing substances, direct beneficial chemical reaction, direct harmful chemical reaction. OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | handlingCode | CD | 0..1 | DEFINITION: A coded value specifying special handling requirements for the drug. EXAMPLE(S): keep at room temperature, store upright OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | riskCode | CD | 0..1 | DEFINITION: A coded value specifying the type of hazard or threat associated with the drug. EXAMPLE(S): flammable, explosive OTHER NAME(S): NOTE(S):
Imaging Acquisition | Drug | stabilityDuration | IVL<TS.DATETIME> | 0..1 | DEFINITION: The period of time during which the drug is considered usable after it is activated (opened). EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | GenericImagingProcessProtocol |  |  |  | DEFINITION: Provides the details for how the images in the imaging study are <u>to be</u> captured and reconstructed, such as a complete description of imaging parameters, instrumentation, subject positioning, etc. EXAMPLE(S): OTHER NAME(S): NOTE(S): This class includes content from both the DICOM CT Defined Acquisition Technique Module and the DICOM CT Defined Reconstruction Technique Module.
Imaging Acquisition | ImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): A chest Protocol might include three elements: two localizer CT radiographs (AP and Lateral) and a single helical scan, each of which would be described in separate steps with different parameter values. OTHER NAME(S): NOTE(S): Given that this subclass of ImagingProcessProtocolElement actually names the process as Acquisition and includes that word in the name of the class, the word Process is omitted from the class name.
Imaging Acquisition | ImagingAcquisitionProtocolElement | acquisitionTypeCode | DSET<CD> | 0..1 | DEFINITION: A coded value specifying spatial aspects of the mechanism of data collection. EXAMPLE(S): For CT, this specifies the trajectory of the X-Ray source relative to the object being imaged, e.g. SEQUENCED, SPIRAL, CONSTANT_ANGLE, STATIONARY, FREE For MRI, this specifies the spatial encoding scheme, e.g. 1D, 2D, 3D OTHER NAME(S): Acquisition Type (0018,9302) NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | bodyPositionCode | CD | 0..1 | DEFINITION: A coded value specifying the 3-dimensional spatial orientation of a subject during this imaging acquisition protocol element. EXAMPLE(S): supine, trendelenburg, standing OTHER NAME(S): NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | cardiacSynchronizationTechniqueCode | CD | 0..1 | DEFINITION: The means used to coordinate the collection or reconstruction of data with the cardiac cycle. EXAMPLE(S): NONE, REALTIME, PROSPECTIVE, RETROSPECTIVE, PACED OTHER NAME(S): Cardiac Synchronization Technique (0018,9037) NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | dataCollectionDiameter | PQ | 0..1 | DEFINITION: The diameter of the region over which information is acquired. EXAMPLE(S): OTHER NAME(S): Exposure Modulation Type (0018,9323) NOTE(S): The units are of linear distince, e.g. mm..
Imaging Acquisition | ImagingAcquisitionProtocolElement | imageTypeCode | DSET<CD> | 1..1 | DEFINITION: A coded value that specifies the most important aspect of the images or their derivation. EXAMPLE(S): DYNAMIC, STRESS, RCBV OTHER NAME(S): NOTE(S):
Imaging Acquisition | ImagingAcquisitionProtocolElement | respiratoryMotionTechniqueCode | CD | 0..1 | DEFINITION: The means to be used to coordinate the collection or reconstruction of data with breathing. EXAMPLE(S): NONE, BREATH_HOLD, REALTIME, GATING, TRACKING, RETROSPECTIVE, CORRECTION OTHER NAME(S): Respiratory Motion Compensation Technique (0018,9170) NOTE(S):
Imaging Acquisition | ImagingProcessProtocol |  |  |  | DEFINITION: A collection of activities for the purpose of obtaining images of the subject, including purpose and objectives, and a description of the appropriate equipment characteristics, subject preparation and positioning, anatomical location, functional conditions, acquisition and reconstruction techniques and other parameters. EXAMPLE(S): CT of chest/abdomen/pelvis for oncology follow-up, using intravenous and oral contrast, with the subject positioned supine with arms up, in helical mode with tube current modulation, with single breath hold during entire scan, reconstructed in 2.5 mm thick slices using soft tissue and bone algorithms. OTHER NAME(S): NOTE(S): This class combines the common concept of an imaging protocol underlying the DICOM Defined and Performed Acquisition and Reconstruction Protocols. In modeling, often the same term is used to mean different things and a single concept can have more than one name. In the healthcare arena, the term "protocol" is somewhat overloaded and must be qualified to provide semantic context. Therefore during the early years of the BRIDG project, the term "study protocol" was chosen to disambiguate the concept of the detailed plan for a clinical study (the scope of BRIDG at that time) from other kinds of protocols such as are common in life sciences. In BRIDG, the notion of a study protocol is very specific in purpose and includes (but is not limited to) the design, statistical considerations, activities to test a particular hypothesis or answer a particular question that is the basis of the study, characteristics, specifications, objective(s), background, pre-study/study/post-study portions of the plan (including the design, methodology, statistical considerations, organization). For a more complete discussion of the notion of the study protocol see the classes StudyProtocol, StudyProtocolVersion, StudyProtocolDocument, StudyProtocolDocumentVersion, StudyConduct and all their associations. With the addition of life sciences to the scope of the BRIDG model, there came along (with that scope) the need to identify the kind of protocol that represents a more simple or atomic concept, that of “a composite activity that serves as a rule that guides how activities should be performed.” This concept, represented by the ProcessProtocol class, has a more limited size than the concept of a study protocol does and represents a standardized approach to doing tasks or activities that are not as big as the plan for a whole study. With the further addition of imaging concepts to the BRIDG model, there came the need to add further specific types of process protocols. So the same term, ProcessProtocol has been leveraged with a prefix to indicate the scope of this subclass - ImagingProcessProtocol. The BRIDG team acknowledges that overloaded terms are problematic. The team recognizes that many different users within the BRIDG community will have differing opinions on what the meaning of a term is, which term is the best to use for each concept, and how to define them most effectively. Given that the real “meat” of a concept is in the definition, the BRIDG team aims to choose the most unambiguous term to use as the class name, to make the class definition as explicit and clear as possible, to provide sufficient examples and other names to illustrate the range of possible instances that could be represented by the class. So the BRIDG model is maintaining the distinction between a ProcessProtocol and a StudyProtocol because there is a distinction in the domain that we're trying to disambiguate - the concepts, attributes and relationships that describe an SOP-like, atomic, reusable ProcessProtocol are very different than those of a full-blown clinical trial StudyProtocol. Linking the classes because they both contain the same overloaded word would create artificial complexity in the model and not serve the ultimate purpose of interoperability across systems that need to exchange biomedical research data.
Imaging Acquisition | ImagingProcessProtocolElement |  |  |  | DEFINITION: A set of parameter values necessary to obtain or reconstruct a set of images for an imaging process protocol. EXAMPLE(S): A chest Protocol might include three elements: two localizer CT radiographs (AP and Lateral) and a single helical scan, each of which would be described in separate steps with different parameter values. A CT Protocol frequently specifies multiple reconstructions. For example, a single helical Acquisition Element may be reconstructed once as thin slices and a second time as thick slices. OTHER NAME(S): NOTE(S): This class combines the common concept for the process protocol element from the DICOM CT Defined Acquisition Technique Module, the DICOM CT Defined Reconstruction Technique Module, DICOM CT Performed Acquisition Technique Module and the DICOM CT Performed Reconstruction Technique Module.
Imaging Acquisition | ImagingProcessProtocolElement | primaryAnatomicSiteCode | DSET<CD> | 0..* | DEFINITION: A coded value specifying the anatomic location that is the focus of this imaging process protocol element. EXAMPLE(S): Kidney OTHER NAME(S): NOTE(S): Multiple contiguous sites within the same organ system may be referenced. Sources that capture anatomic site and laterality separately should map both to this attribute. For implementation models based on BRIDG where site and laterality are captured separately, you may wish to capture both concepts as a post-coordinated code structure or as multiple code repetitions.
Imaging Acquisition | ImagingProcessProtocolElement | summary | ST | 0..1 | DEFINITION: A brief statement about the characteristics of this element, which is intended for use by the radiologist, technologist and/or physicist during management of the imaging protocol to understand the characteristics of the element in the protocol. EXAMPLE(S): "dose-optimized pelvis" (acquisition protocol element) "thin slides for cardiac 3D" (reconstruction protocol element) OTHER NAME(S): From DICOM: Protocol Element Characteristics Summary (0018,9923) NOTE(S):
Imaging Acquisition | ImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single scan. EXAMPLE(S): A CT Protocol frequently specifies multiple reconstructions. For example, a single helical Acquisition Element may be reconstructed once as thin slices and a second time as thick slices. OTHER NAME(S): Reconstruction Element Sequence (XXXX, XXXX) NOTE(S): Given that this subclass of ImagingProcessProtocolElement actually names the process as Reconstruction and includes that word in the name of the class, the word Process is omitted from the class name.
Imaging Acquisition | ImagingReconstructionProtocolElement | algorithmCode | CD | 1..1 | DEFINITION: A coded value specifying the algorithm to use when reconstructing the image from the data acquired during the acquisition process. EXAMPLE(S): For CT: FILTER_BACK_PROJ, ITERATIVE For PET: FILTER_BACK_PROJ, REPROJECTION, RAMLA, MLEM OTHER NAME(S): NOTE(S):
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionDiameter | IVL<PQ> | 0..1 | DEFINITION: The diameter of the region from which data is used in creating the reconstruction of the image. EXAMPLE(S): OTHER NAME(S): Reconstruction Diameter (0018,1100) NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionFieldOfViewHeight | IVL<PQ> | 0..1 | DEFINITION: The vertical dimension of the rectangular region from which data is used in creating the reconstruction of the image. EXAMPLE(S): OTHER NAME(S): Reconstruction Field of View (0018,9317) - second value NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionFieldOfViewWidth | IVL<PQ> | 0..1 | DEFINITION: The horizontal dimension of the rectangular region from which data is used in creating the reconstruction of the image. EXAMPLE(S): OTHER NAME(S): Reconstruction Field of View (0018,9317) - first value NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | reconstructionInterval | IVL<PQ> | 0..1 | DEFINITION: The cross plane distance between the centers of adjacent, parallel reconstructed images. EXAMPLE(S): OTHER NAME(S): Spacing Between Slices (0018,0088) NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | sliceThickness | IVL<PQ> | 0..1 | DEFINITION: The cross plane dimension of the reconstructed image. EXAMPLE(S): OTHER NAME(S): Slice Thickness (0018,0050) NOTE(S): The units are of linear distance, e.g. mm.
Imaging Acquisition | ImagingReconstructionProtocolElement | typeCode | CD | 1..1 | DEFINITION: A coded value specifying the kind of algorithm used when reconstructing the image from the data acquired during the acquisition process. EXAMPLE(S): For PET: 2D, 3D, 3D_REBINNED OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single MR scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | acquisitionContrastCode | CD | 1..1 | DEFINITION: A coded value specifying the inherent (as opposed to exogenous) contrast in the acquisition. EXAMPLE(S): DIFFUSION FLOW_ENCODED - Flow Encoded contrast FLUID_ATTENUATED - Fluid Attenuated T2 weighted contrast PERFUSION - Perfusion weighted contrast PROTON_DENSITY - Proton Density weighted contrast STIR - Short Tau Inversion Recovery TAGGING - Superposition of thin saturation bands onto image T1 - T1 weighted contrast T2 - T2 weighted contrast T2_STAR - T2* weighted contrast TOF - Time Of Flight weighted contrast OTHER NAME(S): inherent contrast NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | arterialSpinLabelingContrastCode | CD | 1..1 | DEFINITION: A coded value specifying how arterial water is used as a diffusable tracer. EXAMPLE(S): CONTINUOUS - a single long low powered RF pulse PSEUDOCONTINUOUS - multiple short low powered RF pulses PULSED - a single short high powered RF pulse OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | diffusionBValue | IVL<PQ> | 1..1 | DEFINITION: The factor by which the acquisition is sensitized to the Brownian motion of water molecules. EXAMPLE(S): OTHER NAME(S): diffusion sensitization factor NOTE(S): The units are of time/area, e.g. s/mm2.
Imaging Acquisition | MRImagingAcquisitionProtocolElement | diffusionDirectionalityCode | CD | 1..1 | DEFINITION: A coded value specifying whether diffusion conditions for the frame are directional, or isotropic with respect to direction.. EXAMPLE(S): DIRECTIONAL, BMATRIX, ISOTROPIC, NONE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | echoPlanarPulseSequenceIndicator | BL | 1..1 | DEFINITION: Specifies whether multiple echos of different phase steps are acquired using rephasing gradients instead of repeated 180-degree pulses. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | echoPulseSequenceCategoryCode | CD | 1..1 | DEFINITION: A coded value specifying an echo category of pulse sequences. EXAMPLE(S): SPIN, GRADIENT, BOTH OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | inversionRecoveryIndicator | BL | 1..1 | DEFINITION: Specifies whether an inversion recovery preparatory sequence is used in the acquisition. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | magneticFieldStrength | PQ | 1..1 | DEFINITION: A vector quantity indicating the ability of a magnetic field to exert a force on moving electric charges. [The American Heritage® Science Dictionary] EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of magnetic flux density, e.g. tesla.
Imaging Acquisition | MRImagingAcquisitionProtocolElement | multipleSpinEchoIndicator | BL | 1..1 | DEFINITION: Specifies whether different lines in k-space are collected for a single frame. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | phaseContrastIndicator | BL | 1..1 | DEFINITION: Specifies whether this is a pulse sequence in which the flowing spins are velocity encoded in phase. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | pulseSequenceName | ST | 1..1 | DEFINITION: Name of the pulse sequence that is used for the acquisition. EXAMPLE(S): OTHER NAME(S): NOTE(S): This is usually a vendor-specific name.
Imaging Acquisition | MRImagingAcquisitionProtocolElement | resonantNucleusCode | CD | 1..1 | DEFINITION: A coded value specifying the atomic nucleus that is the target of the acquisition. EXAMPLE(S): 1H, 3HE, 7LI, 13C, 19F, 23NA, 31P, 129XE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | saturationRecoveryIndicator | BL | 1..1 | DEFINITION: Specifies whether a saturation recovery pulse sequence is used. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | spectrallySelectedSuppressionCode | CD | 1..1 | DEFINITION: A coded value specifying the type of substance-specific signal suppression is used. EXAMPLE(S): FAT, WATER, FAT_AND_WATER, SILICON_GEL, NONE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | steadyStatePulseSequenceCode | CD | 1..1 | DEFINITION: A coded value specifying how residual transverse magnetization is maintained during the acquisition. EXAMPLE(S): FREE_PRECESSION, TRANSVERSE, TIME_REVERSED, LONGITUDINAL, NONE OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingAcquisitionProtocolElement | timeOfFlightContrastIndicator | BL | 1..1 | DEFINITION: Specifies whether contrast is created by the inflow of blood in the saturated plane. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | MRImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single MR scan. EXAMPLE(S): OTHER NAME(S): NOTE(S): Given that this sub-subclass of ImagingProcessProtocolElement actually names the process as Reconstruction and includes that word in the name of the class, the word Process is omitted from the class name.
Imaging Acquisition | MRImagingReconstructionProtocolElement | complexImageComponentCode | CD | 0..1 | DEFINITION: A coded value specifying the channel of the quadrature detected data, or the combination derived from those channels, used to reconstruct the image EXAMPLE(S):: REAL, IMAGINARY, PHASE or MAGNITUDE OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization |  |  |  | DEFINITION: A formalized group of persons or other organizations collected together for a common purpose (such as administrative, legal, political) and the infrastructure to carry out that purpose. EXAMPLE(S): US National Cancer Institute (NCI); CDISC; HL7, ACME Corporation OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | actualIndicator | BL | 1...1 | DEFINITION: Specifies whether the organization is a particular instance (actual) vs. universal kind. EXAMPLE(S): To indicate a particular Organization, actualIndicator = "true". To indicate a kind of Organization, actualIndicator = "false". OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | description | ST | 0..1 | DEFINITION: The textual representation of the organization. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | effectiveDateRange | IVL<TS.DATETIME> | 0..1 | DEFINITION: The date (and time) span for when the organization is active. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | identifier | ID | 1...1 | DEFINITION: A unique symbol that establishes identity of the organization. EXAMPLE(S): 03008 is the U.S. National Cancer Institute Cancer Therapy Evaluation Program (CTEP) ID for Sacred Heart Hospice in Darlinghurst, New South Wales, Australia OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | name | DSET<ON> | 0..* | DEFINITION: A non-unique textual identifier for the organization. EXAMPLE(S): St. Marys Hospital; US National Cancer Institute (NCI); CDISC; HL7, ACME Corporation, Eastern Cooperative Oncology Group OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | postalAddress | AD | 0..1 | DEFINITION: A contact point used to send physical forms of communication to the organization. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Organization | telecomAddress | BAG<TEL> | 0..* | DEFINITION: A sequence of digits or characters used to identify a particular telephone, fax, or email of the organization. EXAMPLE(S): OTHER NAME(S): NOTE(S): The set of digits that serves as the address for a telephone device. Included in the phone number are country, city, and area codes needed to uniquely address the telephone. A URL or e-mail would be similarly described.
Imaging Acquisition | Organization | typeCode | CD | 0..1 | DEFINITION: A coded value specifying the kind of organization. EXAMPLE(S): academic, pharmaceutical industry, government, other commercial, non-commercial [example from EudraCT] consortium (an organization composed of other organizations that collaborate on a common goal, such as The Cancer Genome Atlas (TCGA) OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity |  |  |  | DEFINITION: An activity that is successfully or unsuccessfully completed. EXAMPLE(S): CBC performed on a specific StudySubject on a given day. A scheduled blood draw that is missed by a specific ExperimentalUnit on a given day. Generating an Anatomic Pathology Structured Report Taking a history and physical Performing surgery Doing a biopsy Diagnosing a disease Administering a drug Making an entry in a patient diary OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | dateRange | IVL<TS.DATETIME> | 0..1 | DEFINITION: The date and time span when this activity began and ended. EXAMPLE(S): The date and time when a sample is taken from the subject. A dose of chemotherapy is given on June 12th starting at 9am and finishing at 12pm. OTHER NAME(S): NOTE(S): Whether administrative or preparatory activities are included in this time frame is up to whoever is defining the activity - this time frame is all that matters when the activity occurred. The date range is an interval (IVL) data type, meaning it has a beginning (low) and end (high) values. It is also a datetime (TS.DATETIME) data type, meaning the beginning date and the end date can have uncertain values (e.g., a range). For example, if a subject was diagnosed with leukemia sometime in 2009 and that subject had a transplant (substance administration) sometime in 2010. We can surmise that the subject must have had a preparative regimen sometime between those times. Therefore the preparative regimen activity would have a beginning (low) date range of between 2009-01-01 and 2009-12-31; and an ending (high) date range of between 2010-01-01 and 2010-12-31. The precise data type mappings would be: IVL&lt;TS.DATETIME&gt;.low.uncertainRange.low = 2009-01-01 IVL&lt;TS.DATETIME&gt;.low.uncertainRange.high = 2009-12-31 IVL&lt;TS.DATETIME&gt;.high.uncertainRange.low = 2010-01-01 IVL&lt;TS.DATETIME&gt;.high.uncertainRange.high = 2010-12-31 [Note that times are left out of the example to keep it as simple as possible.]
Imaging Acquisition | PerformedActivity | dateRangeValidationCode | CD | 0..1 | DEFINITION: A coded value specifying the degree of authoritativeness or certiitude of the date of the activity EXAMPLE(S): date estimated date greater than 100 days - day is correct date known date less than 100 days - date is correct date previously reported OTHER NAME(S): NOTE(S): The concept of "date unknown" is captured by a nullFlavor of "UNK" on the dateRange attribute, rather than a code in this attribute.
Imaging Acquisition | PerformedActivity | delayDuration | PQ.TIME | 0..1 | DEFINITION: The period of time that an action is delayed relative to an original schedule. EXAMPLE(S): If a substance administration is delayed 2 days as a result of an adverse event, then the delayDuration is 2 days. OTHER NAME(S): NOTE(S): Derived from comparing the dates of the scheduled activity with the corresponding performed activity.
Imaging Acquisition | PerformedActivity | duration | PQ.TIME | 0..1 | DEFINITION: The period of time over which the activity is performed. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from the notion of duration in the IVL (width) portion of the dateRange attribute.
Imaging Acquisition | PerformedActivity | fastingStatusIndicator | BL | 0..1 | DEFINITION: Specifies whether the participant had been abstaining from eating when the activity was performed. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from the presence of a PerformedObservation (e.g. "Was the subject fasting when the specimen collection was performed?") and associated PerformedObservationResult.value (constrained to a BL with value of "true") related to a PerformedActivity. The PerformedObservation would be related to the PerformedActivity by both being components of the same composite activity such as a visit (DefinedSubjectActivityGroup or PlannedSubjectActivityGroup).
Imaging Acquisition | PerformedActivity | informationSourceTypeCode | CD | 0..1 | DEFINITION: A coded value specifying the kind of system or data collection from which the record of the activity was derived. EXAMPLE(S): OD = Order BI = Billing CL = Claim NI = No information UN = Unknown OT = Other OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | medicalHistoryIndicator | BL | 0..1 | DEFINITION: Specifies whether the activity is considered part of the historical record of a subject, that is, it did not occur within the bounds of the study. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from comparing the date range of the activity (PerformedActivity.dateRange) with the subject participation in the study (PerformedStudySubjectMilestone.studyReferenceDateRange). If the date is within the study participation date range then this indicator will be "false". Note that this means that this indicator will be derived differently for each study.
Imaging Acquisition | PerformedActivity | nameCodeModifiedText | ST | 0..1 | DEFINITION: A character string that is a revision of the original text of the activity designation to enable the coding of the text. EXAMPLE(S): If the originalText is "apendectomy", the valueCodeModifiedText could be changed to "appendectomy", so that the text can be successfully coded. OTHER NAME(S): NOTE(S): In the context of BRIDG, text modification occurs a single time for a given instance of originalText. This attribute accommodates cases where the original text for identifying what is the activity is captured as DefinedActivity.nameCode(CD).originalText, but is unencodable as is, and requires modification to enable encoding, then the code can be captured as DefinedActivity.nameCode(CD).code.
Imaging Acquisition | PerformedActivity | negationIndicator | BL | 0..1 | DEFINITION: Specifies whether an activity did not occur. EXAMPLE(S): If a subject did not take aspirin in the previous week, the negationIndicator = "true". OTHER NAME(S): NOTE(S): If it is important to capture the fact that a particular activity did not occur, then this attribute is used, often along with negationReason.
Imaging Acquisition | PerformedActivity | negationReason | DSET<SC> | 0..* | DEFINITION: The text and/or code that describes why an activity did not occur. EXAMPLE(S): forgot to ask, sample lost OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | orderCareSettingTypeCode | CD | 0..1 | DEFINITION: A coded value specifying the level of healthcare (care setting) the patient was in when the order was given. EXAMPLE(S): I = Inpatient Order A = Ambulatory Order NI = No information OTHER NAME(S): Order Type NOTE(S):
Imaging Acquisition | PerformedActivity | orderDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the activity was ordered. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | orderedNumberOfRepeats | INT.POS | 0..1 | DEFINITION: The number of times an activity can recur again. EXAMPLE(S): For a study agent transfer, this would be the number of times a supply of the transferred agent can be replenished. OTHER NAME(S): Refills NOTE(S):
Imaging Acquisition | PerformedActivity | orderUrgencyCode | CD | 0..1 | DEFINITION: A coded value specifying the immediacy of the order. EXAMPLE(S): E = Expedite R = Routine S = Stat U = Unknown or null OTHER NAME(S): Priority NOTE(S):
Imaging Acquisition | PerformedActivity | repetitionNumber | INT.POS | 0..1 | DEFINITION: An integer that identifies the particular occurrence of a repeating activity. The first repetition is defined as '1'. EXAMPLE(S): A PlannedActivity might have a repeatQuantity of 4 which would result in 4 ScheduledActivity and PerformedActivity with repetitionNumbers of 1, 2, 3, and 4 respectively. OTHER NAME(S): NOTE(S): Derived from ScheduledActivity.repetitionNumber.
Imaging Acquisition | PerformedActivity | statusCode | CD | 0..1 | DEFINITION: A coded value specifying the phase in the lifecycle of a performed activity. EXAMPLE(S): For a lab test, this would be the condition or stage in the lifecycle of the test (e.g., "completed", "canceled", etc.). OTHER NAME(S): NOTE(S): Please refer to the Performed Activity Status state transition diagram for further details.
Imaging Acquisition | PerformedActivity | statusDate | TS.DATETIME | 0..1 | DEFINITION: The date (and time) on which the status is assigned to the activity. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivity | studyDayRange | IVL<INT> | 0..1 | DEFINITION: The relative timing for a performed activity expressed as the number of days offset from the study-defined reference activity (e.g., date of registration, start of treatment) for this particular experimental unit. EXAMPLE(S): Day 1, Days 10-20 OTHER NAME(S): Study Day NOTE(S): Derived from the dateRange of this activity minus the dateRange of the reference activity + 1. The study-defined reference activity can be different from study to study. The study day for a date after this reference activity is a positive integer calculated as the difference in the two dates + 1. The study day for dates before the reference activity is a negative integer calculated as the difference between the two dates. Note that this means there is no "Day 0."
Imaging Acquisition | PerformedActivityRelationship |  |  |  | DEFINITION: A reference from an activity to another activity or an external document. EXAMPLE(S): An unplanned substance administration occurs as part of a planned encounter. A planned substance administration occurs as part of an encounter that is different than the one in which it was originally planned. An unplanned encounter contains a number of activities. A reference from an observation to a concerning molecular pathology or genetic testing report OTHER NAME(S): NOTE(S): Using this association to represent composition is particularly relevant when one or both of the activities are not planned as the composition relationship can't be established using the normal PlannedCompositionRelationship or DefinedCompositionRelationship.
Imaging Acquisition | PerformedActivityRelationship | separableIndicator | BL | 0..1 | DEFINITION: Specifies whether the referencing activity is intended to be interpreted independently of the referenced item. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivityRelationship | sequenceNumber | INT.NONNEG | 0..1 | DEFINITION: An integer specifying the relative sequential or temporal ordering of this relationship among other similar relationships having the same source. EXAMPLE(S): In a problem set, this may incidate the relative order of a series of images and/or observations. OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedActivityRelationship | typeCode | CD | 0..1 | DEFINITION: A coded value specifying the kind of relationship between the activity and the referenced item. EXAMPLE(S): ELNK = EpisodeLink REFR = Refers to RPLC = replaces SPRT = has support SUBJ = has subject XCRPT = Excerpts OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedImagingStudy |  |  |  | DEFINITION: A collection of images and information that are logically related for the purpose of diagnosing an imaging study subject. [Source: http://dicom.nema.org/medical/dicom/current/output/chtml/part03/chapter_A.html#sect_A.1.2.2] EXAMPLE(S): OTHER NAME(S): NOTE(S): The BRIDG modelers acknowledge that the term "study" is somewhat overloaded and must be qualified to provide semantic context. That said, "Imaging Study" is a very commonly used term in the imaging community. Any given Imaging Study does necessarily have to be associated with a clinical trial or study protocol. The definition of this class should be sufficient to distinguish from other uses of the term "study".
Imaging Acquisition | PerformedImagingStudy | admittingDiagnosisCode | DSET<CD> | 0..* | DEFINITION: The identified disease(s) or illness(es) at the time of the admission during which imaging was performed. EXAMPLE(S): OTHER NAME(S): NOTE(S): This value is derived from the path: PerformedImagingStudy &gt; Subject &gt; PerformedObservation &gt; PerformedDiagnosis.value (ANY=&gt;PQ.TIME) WHERE PerformedObservation &gt; DefinedObservation.nameCode = "diagnosis"
Imaging Acquisition | PerformedImagingStudy | description | ST | 0..1 | DEFINITION: The textual representation of the certain or salient aspects, characteristics, or features of the imaging study. [Adapted from www.businessdictionary.com] EXAMPLE(S): OTHER NAME(S): NOTE(S): Usually this describes the manner in which the imaging study was performed.
Imaging Acquisition | PerformedImagingStudy | dicomStudyID | ST | 0..1 | DEFINITION: The user- or equipment-generated identifier of an instance of a DICOM study entity that corresponds to the performed imaging study. EXAMPLE(S): 1234 OTHER NAME(S): FHIR ImagingStudy.identifier NOTE(S): This is intended to be a human readable identifier.
Imaging Acquisition | PerformedImagingStudy | imageCount | INT.NONNEG | 0..1 | DEFINITION: The number of DICOM instances in the performed imaging study. EXAMPLE(S): OTHER NAME(S): Number of Study Related Instances (0020,1208) NOTE(S):
Imaging Acquisition | PerformedImagingStudy | imagingAccessionIdentifier | II | 0..1 | DEFINITION: An order filler system-generated identifier for the order for the imaging study. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedImagingStudy | lossyImageCompressionIndicator | BL | 0..1 | DEFINITION: Specifies whether any images in the study are irreversibly altered during encoding at any time during its life. EXAMPLE(S): If even just one image in the study has been lossy compressed, the loggyImageCompressionIndicator = "true". OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedImagingStudy | nonAcquisitionModalitiesInStudyCode | DSET<CD> | 0..* | DEFINITION: A coded value specifying the type of equipment that created the images in this imaging study other than that used to acquire the original data. EXAMPLE(S): SR (Structured Report), KO (Key Object), SEG (Segmentation), DOC (document) OTHER NAME(S): NOTE(S): This is a characterization of those devices other than those devices that are used to acquire the images which are encoded in Device.typeCode.
Imaging Acquisition | PerformedImagingStudy | seriesCount | INT.NONNEG | 0..1 | DEFINITION: The number of DICOM series in the performed imaging study. EXAMPLE(S): OTHER NAME(S): Number of Study Related Series (0020,1206) NOTE(S):
Imaging Acquisition | PerformedImagingStudy | storageSOPClassesInStudy | DSET<OID> | 0..* | DEFINITION: The unique identifier of a DICOM Storage Service-Object Pair Class used to encode an instance of the imaging study. EXAMPLE(S): 1.2.840.10008.5.1.4.1.1.2 (CT Image Storage SOP Class) OTHER NAME(S): SOP Classes in Study (0008,0062) NOTE(S):
Imaging Acquisition | PerformedImagingStudy | subjectAge | PQ.TIME | 0..1 | DEFINITION: The length of time since the birth of the imaging subject in completed units. [Adapted from: Google and caDSR Public ID 2423393] EXAMPLE(S): 17 years (years completed) OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; PerformedObservation &gt; PerformedObservationResult.value (ANY=&gt;PQ.TIME) WHERE PerformedObservation &gt; DefinedObservation.nameCode = "age"
Imaging Acquisition | PerformedImagingStudy | subjectHeight | PQ | 0..1 | DEFINITION: The distance from the bottom to the top of the imaging study subject. [adapted from http://www.merriam-webster.com/dictionary/height] EXAMPLE(S): 1.75 meters OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; PerformedObservation &gt; PerformedObservationResult.value (ANY=&gt;PQ.TIME) WHERE PerformedObservation &gt; DefinedObservation.nameCode = "height"
Imaging Acquisition | PerformedImagingStudy | subjectHistory | ST | 0..1 | DEFINITION: Information about the subject obtained by asking questions [Adapted from: https://en.wikipedia.org/wiki/Medical_history] EXAMPLE(S): OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; PerformedObservation &gt; PerformedObservationResult.value (ANY=&gt;PQ.TIME) WHERE PerformedObservation &gt; DefinedObservation.nameCode = "patient history"
Imaging Acquisition | PerformedImagingStudy | subjectWeight | PQ | 0..1 | DEFINITION: The measurement that indicates how heavy an imaging study subject is. [adapted from http://www.merriam-webster.com/dictionary/weight] EXAMPLE(S): 75 kg OTHER NAME(S): NOTE(S): This value is derived from the path: Subject &gt; PerformedObservation &gt; PerformedObservationResult.value (ANY=&gt;PQ.TIME) WHERE PerformedObservation &gt; DefinedObservation.nameCode = "weight"
Imaging Acquisition | PerformedObservation |  |  |  | DEFINITION: The completed action of observing, monitoring, measuring or otherwise qualitatively or quantitatively gathering data or information about one or more aspects of a subject. EXAMPLE(S): lab test, taking vital signs, physical exam, specimen quality review, obtaining DNA sequence, genotyping a genetic variant, measuring the pH of a solution OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | approachAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location or access point for an observation. EXAMPLE(S): Anus for a colonoscopy observation OTHER NAME(S): NOTE(S): Neither target anatomic site nor approach anatomic site is necessarily required or relevant for certain observations, however if either or both are present then the distinction between them is that the approach site is the acces point for the measurement or observation and the target site is what is ultimately being evaluated. Sources that capture anatomic site and laterality separately should map both to this attribute. For implementation models based on BRIDG where site and laterality are captured separately, you may wish to capture both concepts as a post-coordinated code structure or as multiple code repetitions.
Imaging Acquisition | PerformedObservation | approachAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is an access point for a observation. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since source use cases for separate laterality include SDTM and CTOM. This change ensures that users of the BRIDG model are not bound to a particular kind of vocabulary, such as pre- or post-coordinated vocabularies. Collapsing laterality into the target site code is an implementation option.
Imaging Acquisition | PerformedObservation | bodyPositionCode | CD | 0..1 | DEFINITION: A coded value specifying the 3-dimensional spatial orientation of a subject during a particular observation. EXAMPLE(S): supine, trendelenburg, standing OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | bodySystemCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomical structure that consists of organs and organ subclasses responsible for certain body functions. EXAMPLE(S): gastrointestinal system, urinary system, hematopoietic system OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | derivationMethodCode | CD | 1..1 | DEFINITION: A coded value specifying the technique used to calculate a measured value. EXAMPLE(S): mean, maximum of set OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | focalDateRange | IVL<TS.DATETIME> | 0..1 | DEFINITION: The time period in which the observation result is held to be true. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived from DefinedObservation.focalDateRange alone (i.e., directly from simple date ranges like 1990-1999) or from evaluating the expression in DefinedObservation.focalDateRange (which references a date that is now known).
Imaging Acquisition | PerformedObservation | focalDuration | PQ.TIME | 0..1 | DEFINITION: The quantity of time in which the observation result is held to be true. EXAMPLE(S): 2 months is the focalDuration for a question such as "Have you smoked in the last 2 months?". OTHER NAME(S): NOTE(S): Derived from PerformedObservation.focalDateRange.
Imaging Acquisition | PerformedObservation | methodCode | CD | 0..1 | DEFINITION: A coded value specifying the technique used to perform the observation. EXAMPLE(S): Arterial puncture, sphygmomanometry (for blood pressure measurement) Global introspection, algorithm, bayesian (for Adverse Event causality) Estrogen Receptor Assay, Progesterone Receptor Assay, p53 Assay (for clinical result assay) OTHER NAME(S): NOTE(S):
Imaging Acquisition | PerformedObservation | targetAnatomicSiteCode | CD | 0..1 | DEFINITION: A coded value specifying the anatomic location that is the focus of the observation. EXAMPLE(S): Lower intestine for a colonoscopy observation OTHER NAME(S): NOTE(S): The target site of the result may be different than the target site of the activity (PerformedObservation) that generated it. For example, a chest x-ray (observation) has the target site of chest while the result might show an infiltration in the left lower lobe of the lung (target site of result), or a dermatological exam may check the skin across the whole body (target site of observation) while the result might identify a rash on the right leg (target site of result). Neither target anatomic site nor approach anatomic site is necessarily required or relevant for certain observations, however if either or both are present then the distinction between them is that the approach site is where the measurement or observation is performed and the target site is what is ultimately being evaluated. The target site is often implicit in the definition of the observation itself. Sources that capture anatomic site and laterality separately should map both to this attribute. For implementation models based on BRIDG where site and laterality are captured separately, you may wish to capture both concepts as a post-coordinated code structure or as multiple code repetitions
Imaging Acquisition | PerformedObservation | targetAnatomicSiteLateralityCode | CD | 0..1 | DEFINITION: A coded value specifying the side of the body (or a paired organ) that is a target site for an observation. EXAMPLE(S): bilateral, left, right OTHER NAME(S): NOTE(S): This attribute was deprecated in BRIDG 3.1 but undeprecated in 4.0 since source use cases for separate laterality include SDTM and CTOM. This change ensures that users of the BRIDG model are not bound to a particular kind of vocabulary, such as pre- or post-coordinated vocabularies. Collapsing laterality into the target site code is an implementation option.
Imaging Acquisition | PerformedObservation | timePointCode | CD | 0..1 | DEFINITION: A coded value specifying the occasion when the observation was performed. EXAMPLE(S): AD = Admitting DI = Discharge FI = Final IN = Interim NI = No information UN = Unknown OT = Other OTHER NAME(S): Diagnosis Source NOTE(S): Theoretically this information should be derivable from the visit or encounter of which the observation is a component.
Imaging Acquisition | PETImagingAcquisitionProtocolElement |  |  |  | DEFINITION: A set of scanning parameter values necessary to perform a single PET scan in the acquisition protocol. [adapted from NEMA XR 25-2010, https://www.nema.org/Standards/Pages/Computed-Tomography-Dose-Check.aspx] EXAMPLE(S): OTHER NAME(S): NOTE(S): Given that this sub-subclass of ImagingProcessProtocolElement actually names the process as Acquisition and includes that word in the name of the class, the word Process is omitted from the class name.
Imaging Acquisition | PETImagingAcquisitionProtocolElement | gantryDetectorTilt | IVL<PQ> | 1..1 | DEFINITION: Nominal angle of tilt in degrees of the scanning gantry. EXAMPLE(S): OTHER NAME(S): NOTE(S): The units are of plane angle , e.g. degrees. Zero degrees means the gantry is not tilted, negative degrees are when the top of the gantry is tilted away from where the table enters the gantry.
Imaging Acquisition | PETImagingReconstructionProtocolElement |  |  |  | DEFINITION: A set of image generation parameter values necessary to create a single set of images from a single PET scan. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | ProcessProtocol |  |  |  | DEFINITION: A standard operating procedure (SOP) that is a collection of activities and the rules that describe when each activity is performed to achieve a specific purpose or objective(s). EXAMPLE(S): Specimen Collection Protocol; Specimen Processing Protocol; Image Acquisition Protocol OTHER NAME(S): NOTE(S): In modeling, often the same term is used to mean different things and a single concept can have more than one name. In the healthcare arena, the term "protocol" is somewhat overloaded and must be qualified to provide semantic context. Therefore during the early years of the BRIDG project, the term "study protocol" was chosen to disambiguate the concept of the detailed plan for a clinical study (the scope of BRIDG at that time) from other kinds of protocols such as are common in life sciences. In BRIDG, the notion of a study protocol is very specific in purpose and includes (but is not limited to) the design, statistical considerations, activities to test a particular hypothesis or answer a particular question that is the basis of the study, characteristics, specifications, objective(s), background, pre-study/study/post-study portions of the plan (including the design, methodology, statistical considerations, organization). For a more complete discussion of the notion of the study protocol see the classes StudyProtocol, StudyProtocolVersion, StudyProtocolDocument, StudyProtocolDocumentVersion, StudyConduct and all their associations. With the addition of life sciences to the scope of the BRIDG model, there came along (with that scope) the need to identify the kind of protocol that represents a more simple or atomic concept, that of “a composite activity that serves as a rule that guides how activities should be performed.” This concept, represented by the ProcessProtocol class, has a more limited size than the concept of a study protocol does and represents a standardized approach to doing tasks or activities that are not as big as the plan for a whole study. The BRIDG SCC acknowledges that overloaded terms are problematic. The SCC recognizes that many different users within the BRIDG community will have differing opinions on what the meaning of a term is, which term is the best to use for each concept, and how to define them most effectively. Given that the real “meat” of a concept is in the definition, the BRIDG SCC aims to choose the most unambiguous term to use as the class name, to make the class definition as explicit and clear as possible, to provide sufficient examples and other names to illustrate the range of possible instances that could be represented by the class. So the BRIDG model is maintaining the distinction between a ProcessProtocol and a StudyProtocol because there is a distinction in the domain that we're trying to disambiguate - the concepts, attributes and relationships that describe an SOP-like, atomic, reusable ProcessProtocol are very different than those of a full-blown clinical trial StudyProtocol. Linking the classes because they both contain the same overloaded word would create artificial complexity in the model and not serve the ultimate purpose of interoperability across systems that need to exchange biomedical research data.
Imaging Acquisition | ProcessProtocol | title | ST | 0..1 | DEFINITION: The textual designation by which the protocol is referenced. EXAMPLE(S): OTHER NAME(S): NOTE(S):
Imaging Acquisition | Product |  |  |  | DEFINITION: A material produced by or resulting from a process. EXAMPLE(S): animal and human drugs; therapeutic biologics; allergenics; cell, tissue and gene therapy products; blood components; blood derivative products; devices; animal (pets and livestock) and human food/feed (medicated and un-medicated); cosmetics; pet treats; dietary supplements [examples from FDA's list of regulated products] Therapeutic devices, software programs, diagnostic or storage equipment, pill bottle, tube rack Natural or Synthesized DNA The HeLa cell line, the HEK-293 cell line OTHER NAME(S): NOTE(S): The term “Product” as a class name in BRIDG is not intended to imply commercial products only, but rather any material that is produced by a process. This includes biologics collected for testing, transplant or replication, as well as tissue that is banked.
Imaging Acquisition | Radiopharmaceutical |  |  |  | DEFINITION: A radioactive drug that is used for the diagnosis or treatment of disease. EXAMPLE(S): Technetium^99m DMSA Sodium fluoride F^18^ Fluorodeoxyglucose F^18^ OTHER NAME(S): Medicinal radiocompounds Radioactive tracer NOTE(S):
Imaging Acquisition | Radiopharmaceutical | radionuclideCode | CD | 1..1 | DEFINITION: A coded value that specifies the radioactive isotope in the radiophamaceutical. EXAMPLE(S): OTHER NAME(S): NOTE(S): Derived by tracing the radiopharmaceutical through its ingredients to the radionuclide, i.e. Radiophamaceutical &gt; ProductRelationship &gt; Product.code WHERE Product.typeCode = "radionuclide"
Imaging Acquisition | SpecificImagingProcessProtocol |  |  |  | DEFINITION: Provides the details for how the images in the imaging study <u>were </u>captured and reconstructed previously so that the <u>process can be replicated</u>, such as a complete description of imaging parameters, instrumentation, subject positioning, etc. EXAMPLE(S): OTHER NAME(S): NOTE(S): This class includes content from both the DICOM CT Performed Acquisition Technique Module and the DICOM CT Performed Reconstruction Technique Module.